# LAB 2: DIGITAL MULTIMETER OPERATIONS

## Measurement and Data Acquisition: Basic Measurement

### Student Name: ___________________________________________________

### Acknowledgements

Subject Matter Expert:  Roy Brixen, College of San Mateo, CA

### Purpose

This lab activity introduces you to the basic theory and operation of a lab digital multimeter (DMM).  The lab is focused on using the DMM as a tool to measure voltage, current, and resistance.  DMM measurement theory, terminology, and operation are stressed.  Since all system tests require a DMM, a technician needs to understand the basic theory of operation, the common terminology used with all DMMs, and, ultimately, their efficient use.  Technicians setup and use DMMs in virtually all job classifications.  Therefore, DMM operation becomes a required skill of the job.

### Systems Rationale

The multimeter, be it an analog instrument or a digital instrument, is the most fundamental piece of test equipment a technicain uses.  The multimeter affords the technician the opportunity to accurately measure voltage, current, resistance, temperature, inductance, capacitance, frequency and, sometimes, transistor gain.  The multimeter can be used for component checkout (resistance, inductance, and capacitance) as well as systems chechout (measuring voltage, current, frequency, and temperature).  This lab activity allows the student to learn and practice industry-standard measurement techniques used in both component testing and systems testing.

### System Concepts

This system covers the following system concepts (signified by an X):

_  _ 	S1. A system can be defined in terms of its functional blocks i.e., a “structured functional unit.”

_  _ 	S2. A system has a purpose, transforms inputs into outputs to achieve a goal.

_X_ 	S3. A system is defined by the flow of materials, energy and information, between its functional units.

_X_ 	S4. A system may be open or closed. In an open system additional inputs are accepted from the environment.

_  _ 	S5. A system is more than the sum of its parts. Individual components can never constitute a system.

_X_ 	S6. A system provides feedback to the operator and services to the user. Some system functions may involve operator action.

_X_ 	S7. Systems have unique problems.

### Learning Outcomes

Appropriate SLOs for the lab activity are below.  For a complete list of course SLOs visit:  http://www.esyst.org/Courses/Acquisition_Measurement/_delivery/index.php

16.	Explain how data acquired in a DAQ system is stored.

### Prerequisite Knowledge and Skills

In order to complete this DMM lab activity, you will need to know the basic concepts of voltage, current, and resistance.  Additionally, some basic understanding of power supplies and why they are used in electronics technology will be helpful.

### Learning Objectives*

Relevant knowledge (K), skill (S), and attitude (A) outcomes include:

K1--The student will be able to describe the typical circuits used in a DMM to perform voltage, current, and resistance measurement.

K2--The student will be able to state basic rules that must be followed when using a DMM to measure voltage, current, and resistance.

K3--The student will be able to describe the basic concepts of 2-wire and 4-wire resistance measurement.

K4--The student will be able to describe continuity and diode testing using a DMM.

S1--The student will be able to use a DMM to accurately measure voltage, current, resistance, continuity, diodes, and capacitance.

### Process Overview

This lab involves four sequential activities.  First, you will read a CD-ROM based technical presentation covering lab digital multimeters.  Second, you will answer a set of questions based upon the reading assignment.  Third, you will setup and complete a lab activity that contains three parts.  Finally, you will complete a CD-ROM based technical evaluation covering use and operational theory of a lab DMM.

### Performance Overview

- A standard hands-on lab environment is used for this activity.

- Group work and/or individual work is permitted.

- The lab results are due at the start of the next lab session.

Your results will include:

- Answer to the pre-lab questions.

- Lab results data sheets and conclusions as printed from the Agilent CD-ROM.

- DMM Lab Assessment Worksheet from the Agilent CD-ROM.

### Length

This lab will require about five hours of time.

### Equipment and Supplies

- DC Power Supply (Plus and minus 15 volts with Constant Current and Constant Voltage modes)

- Digital Multimeter

- PC with CD-ROM Drive and Printer

- Agilent U3000 Electronic Instrumentation Training Board

- 1k ohm, 1/4 watt, 5% resistor

- 4.7k ohm, 1/4 watt, 5% resistor

- .1 uF., 50 VDC., 10% mylar capacitor

- 2N2222 NPN silicon transistor

### Special Safety Requirements

There are no special safety requirements for this lab.

### Lab Preparation

- Mount and launch the Product Reference CD-ROM supplied with the Agilent U3000A Electronic Instrumentation Training Kit

- When the CD-ROM menu appears, under Documentation, double click on Digital Multimeter just to the right of U3000A Teaching Materials (ENG).

- Open the .pdf file

- Read the text information and then answer the following theory questions.  Stop at page 39 of the .pdf file.

U3000 Multimeter Questions

- Name the three basic measurement functions of a typical DMM.

- Describe the difference between auto-ranging and manual selection.

- How is the DMM connected when a voltage source is measured?

- In AC voltage measurement mode, does a DMM make an average or a RMS measurement?

- What component is used to prevent DC voltage components from affecting an AC voltage measurement?

- How is the DMM connected when a current source is measured?

- Why cannot the DMM be connected across, or in parallel with, the power supply?

- In AC current measurement mode, does a DMM make an average or a RMS measurement?

- How is the DMM connected when a resistance device is measured?

- Describe the difference between 2-wire and 4-wire resistance measurement.

- Summarize four basic rules dealing with resistance measurement.

- During voltage measurement, what is the function of the reference voltage?

- Name and describe the function of the two types of input voltage signal conditioning processes.

- Since the ADC in a DMM requires an input voltage, describe how an input current is converted to an input voltage prior to digitization.

- Since the ADC in a DMM can only respond to the input voltage, explain how a resistance device is converted into a voltage in order to allow the DMM to perform a resistance measurement.

- Name and describe eight sources of measurement error.

- Describe a continuity measurement.

- What is the difference on the DMM display between finding continuity between the test leads vs. funding low resistance?

- During a diode test, an open diode is displayed as _____________________ while a functional diode produces a display of ______________________.

- What one signal characteristic is important to the DMM circuits when making a frequency measurement?

- How is the equation t = R x C related to the operation of a DMM when measuring a capacitor value?

### Introduction

The activities put forth in this lab will prepare you to use one of the most common tools available to the electronics technician--the digital multimeter.  All circuits and equipment need AC and/or DC voltage in order to function.  If you have mastered the skilled involved in setting up, connecting, and properly using a digital multimeter to voltage, current and resistance, you will have accomplished one of the major tasks that must occur when a technician validates that an electronics circuit or system is set up to function properly.  Almost every troubleshooting guide published with a piece of equipment will require that you set up and test the systems power supply voltage before doing any additional tests.  This test is typically done with a digital multimeter.  Such setup and testing is task one as a system is initialized from the factory, evaluated during a preventive maintenance inspection, or investigated for an operational failure.  The information and skills that you will learn and exercise in this lab activity will enhance your skills and prepare you for additional testing and troubleshooting.

### Task

Setting up and using a lab or system digital multimeter is a basic technician skill.  Troubleshooting every electronic circuit and/or system requires voltage, current, and/or resistance measure done with a digital multimeter.  Being able to properly set up such a unit, connect it correctly, adjust it for proper voltage, current, and resistance settings, and regularly monitoring the meter's display is an ongoing technician requirement.  Being able to accurately measure the "big three" in a circuit or an electronic system is a basic technician skill without which troubleshooting is impossible.

### Process

Agilent Technologies has prepared a series of two Lab Exercises dealing the basic lab digital multimeter.  These exercises include lab directions and data tables.  Both exercises are found on the Product Reference CD-ROM supplied with the Agilent U3000A Electronic Instrumentation Training Kit.

- Mount and load the Agilent U3000 Product Reference CD-ROM.

- Select the U3000A Lab Sheet (ENG):  Digital Multimeter .pdf file.  When the file is load into the reader print the file.

- Starting with Lab Exercise 1, complete both lab exercises.  Be sure to complete the Results and Discussion section at the end of each exercise.

### Conclusion

In your lab report, include the answers to all of the pre-lab questions.  Also include your completed lab results data sheets and measurement conclusions on the forms printed from the Agilent CD-ROM.  Finally, load and print the Digital Multimeter Lab Assessment Worksheet from the Agilent CD-ROM.  Complete questions 1 through 10.