GO "GREEN" LAB #2

ENERGY AUDIT CHECKLIST

Apply this checklist to the designated facility.

Lighting:

- Is the facility using the most energy efficient lighting (Flourescent Mercury Vapor, etc.)?

- Are there areas that have excessive or unneeded lighting?

- Is the facility making effective use of available lighting, such as natural sun light?

- Does the facility have lighting management equipment such as dimmers, timers, and sensors?

Building Envelope:

- Is the facility well insulated?

- Does weather stripping around doors and windows need to be replaced?

- Are cracks around doors, windows, and foundations properly sealed?

- Are there open doors around loading docks or other frequently accessed areas?

Heating and Cooling:

- Are furnaces, boilers, and air conditioning systems operating efficiently?

- Is there a regular maintenance and update schedule for these systems?

- Are filters changed regularly?

- Is the building properly ventilated?

Motors and Equipment:

- Is the equipment maintained so that it is operating efficiently?

- Are machines shut down when not in use?

Energy Behavior:

- Are lights, fans, and equipment (computers, printers, etc.) turned off when not in use?

- Are building temperatures set back when not in use?

- Are thermostats set to higher or lower than necessary in summer and winter?

Recycling Efforts:

- Does the facility recycle paper?

- Does the facility recycle plastic?

- Does the facility recycle cans and aluminum?