## Slide 1
Prof. Vladimir V. Vantsevich
Jesse Paldan, Research Assistant
Lloyd Balfour, Graduate Research Assistant
Vehicle and Robotics Engineering Laboratory
University of Alabama at Birmingham
Week 3. Lecture 1
Experimental Testing of Vehicles
Instruments Specifications

## Slide 2
  Terms and Definitions
  Accuracy
  Deratings
  Noise and Noise Rejection
  Speed
  Outline

## Slide 3
There are a number of different types of measurement instruments to analyze electric systems [1].
These include some measurements devices previously discussed:
Electrometers, DMM (digital multi meter), SMU source measuring unit), SourceMeter instruments, and micro-ohmmeters [1].
  Terms and Definitions

## Slide 4
Figure 1: Electrometer model LB1840-001 [2]
Electrometer
DMM
Figure 2: Two types of digital multi-meters [3]
Figure 3: SMU model 2400 [4]
SMU
  Terms and Definitions

## Slide 5
  TERM AND DEFINITIONS
Figure 5 6250 Micro-ohmmeter [6]
Figure 4 SourceMeter model 2401 [5]
SourceMeter Instrument
Micro-ohmmeter

## Slide 6
Knowing the definition of instrument specifications is an important aspect in measuring data.
Not knowing what the specifications are, or what they do, will lead to incorrect data collection and potentially incorrect procedure of the equipments.
The instrument specifications are as follows:
Accuracy
Deratings
Noise and Noise rejection
Speed
  Terms and Definitions

## Slide 7
Sensitivity
The smallest absolute amount of change that can be detected by a measurement instrument [7].
Resolution
The degree to which a change can be theoretically detected [7] .
Repeatability
The closeness of agreement between successive measurements carried out under the same conditions [1].
  Terms and Definitions
Accuracy Terms & Definitions:

## Slide 8
Reproducibility
The closeness of agreement between measurements of the same value carried out with a stated change in conditions [1].
Absolute Accuracy
How close a computed or a measured value is to a standard or known value [8].
  Terms and Definitions
Accuracy Terms & Definitions:

## Slide 9
Relative Accuracy
How much a measurement accurately reflects the relationship between an unknown value and a reference value[1].
Error
The deviation of a measurement from its true values[1].
Random Error
Errors caused by unknown and unpredictable changes in the system [9].
  Terms and Definitions
Accuracy Terms & Definitions:

## Slide 10
Systematic Error
A constant error that is prevalent in the system that is not caused by chance but by some inherent inaccuracy.
(AKA measurement bias)
Uncertainty
A parameter associated with the results of a measurement that characterizes the deviation [10].
  Terms and Definitions
Accuracy Terms & Definitions:

## Slide 11
Accuracy is one of the most important aspects in any type of measurement situation.
The most important factor of accuracy is the accuracy of the instrument itself [1].
The ways the accuracy of an instrument can be specified is as parts per million(ppm) or percent[11].
  Accuracy
Notes: Summarize the accuracy section

## Slide 12
An instrument’s accuracy can be specified as a percentage of reading plus a range percentage [1].
An instruments accuracy can also be specified as a ppm of reading plus ppm of range [1].
  Accuracy

## Slide 13
A voltmeter has instrument specifications shown below. Calculate the error and the percent error .
Accuracy:
Range:
Input Signal:
Percent error
  Accuracy
Example:

## Slide 14
Derating
Derating is the reduction of accuracy of an electronic device due to some form of external condition change.
Temperature Coefficient
Describes the relative change of a physical property that is associated with a change in temperature per degree of temperature [12].
Time Drift
The deviation of the measured value over a long period of time
Derating Terms & Definitions:
  Terms and Definitions

## Slide 15
The temperature of the environment can affect the accuracy of the devices resulting in the device experiencing deratings [1].
The electric devices that were stated earlier all have temperature instrument specifications usually around an operating range of to or to [1].
If temperatures are outside the range of values, the temperature coefficient is specified as
count) or
[1].
  Derating

## Slide 16
Normal Mode Rejection Ratio (NMRR)
Defines how well the measuring instrument rejects or reduces the noise that appears between the Hi and Low input terminals (input terminals are a device used to enter data) [1].
Common Mode Rejection Ratio (CMRR)
Defines how well an instrument rejects noise signals that appears between both the Hi and Low inputs [1].
  Terms and Definitions
Noise Terms & Definitions:

## Slide 17
Noise rejection is done by using an integrated A/D converter to reduce noise at certain frequencies [1]. Usually these frequencies fall between 50 to 60 hertz (Hz) [1].
Both NMRR and CMRR are usually specified in dB (decibels) [1].
For each increase in the noise rejection ratio, the noise in the voltage or current decreases by a value factor of 10 [1].
  Noise and Noise Rejection

## Slide 18
A rejection ratio of indicates a noise reduction by a factor of [1].
However a ratio of shows that the common mode noise would be reduced by a factor of [1].
This causes noise signal to be reduced to with a rejection ratio and down to with a rejection ratio [1].
  Noise and Noise Rejection
Example:

## Slide 19
When measurement speed is specified, it is usually stated as a value of readings per second [1]. This is specific to a given instrument operating condition [1].
One thing of importance to note is that there is a tradeoff between the measurement speed and accuracy [1].
Changing the integration period and the amount of filtering will change the not only the speed but will also impact the accuracy [1].
  Speed

## Slide 20
[1] Keithely. Low Level Measurements Handbook Precession DC Current, Voltage, and Resistance Measurements 6th edition. Cleveland, Ohio. 2004. Retrieved from: http://www.if.tugraz.at/bibliothek/handleitung/HANDBOOK-Low-Level.pdf
[2] Industrial Equipment & Control. Instruction Sheet Electrometer. Retrieved from: http://www.iecpl.com.au/z_pdfs/lb1840-101.pdf
[3] Fluke Corporation. What is a digital multimeter? Retrieved from: http://en-us.fluke.com/training/training-library/measurements/electricity/what-is-a-digital-multimeter.html
[4] Tektronix. Keithley Source Measure Units. 2017. Retrieved from : http://www.tek.com/keithley-source-measure-units
  References

## Slide 21
[5] Keithley. Low Voltage SourceMeter Instrument. Retrieved from: http://www.adler-instrumentos.es/imagenes_web/productos/5-2401DataSht.pdf
[6] Chauvin Arnoux. 6250 Micro-Ohmmeters. 2016. Retrieved from: http://www.aemc.com/products/html/moreinfo.asp?id=902&dbname=products
[7] Measurement Computing. Accuracy, Precision, resolution & Sensitivity. “Measurement Computing Data Acquisition Knowledgebase”. Retrieved from: http://kb.mccdaq.com/KnowledgebaseArticle50043.aspx
[8] S. Chapra and R. Canale. Numerical Methods for Engineers, 7th edition. New York: McGraw-Hill Education, 2015.
  References

## Slide 22
[9] R.H.B Excell. Error Analysis. “Practical Mathematics”. King Mongkut’s University of Technology Thonburi. 2001.Retrieved from: http://www.jgsee.kmutt.ac.th/exell/PracMath/ErrorAn.htm
[10] NIST. Uncertainty of Measurements Results. “ The NIST Reference on Constants, Units, and Uncertainty”. Retrieved from: http://physics.nist.gov/cuu/Uncertainty/glossary.html
[11] Keithley. Precise Measurements FAQ’s. Retrieved from: http://www.tek.com/sites/tek.com/files/media/media/resources/PreciseMeas_FAQs1.pdf
[12] Wikipedia. Temperature Coefficient. Retrieved from: https://en.wikipedia.org/wiki/Temperature_coefficient
  References