## Slide 1
ACADs (08-006) Covered
Keywords
Switchgear, motor control, ground, circuit breaker.
Description
Supporting Material
1.3.7.2 | 1.3.7.4 | 2.1.14.1 | 5.1.1.1.1.1 | 5.1.1.2.1.3 |  | 
5.1.1.2.1.7 | 5.1.1.2.1.12e | 5.1.2.20 |  |  |  | 
Notes: <number>

## Slide 2: SESSIONS 27 and 28 4160V Switchgear 480V Switchgear 480V Motor Control Centers

## Slide 3: Rule of Thumb
0 - 49 HP 480V MCC
50 - 249 HP 480V Bus
+250 HP 4160V Bus

## Slide 4
Hand out and review drawings:
SD-2500-01
SD-2548-04

## Slide 5: Typical 4160v Switchgear Assembly

## Slide 6: Typical 4160v Circuit Breaker Cubicle (Front)
Relays
Fuse Block
Relays
4160v Circuit Breaker
Indicator Lights
Indicator Lights

## Slide 7: Typical 4160v Circuit Breaker Cubicle (Front)
Fuse Block
52h Switch
52s Switch
Typical Tagging Points

## Slide 8: Typical 4160v Circuit Breaker Cubicle (Breaker Removed)
Shutterguard Clamp/Lock
Primary Contacts
(Stabs)
Actuator arm for auxiliary relays above
Grounding Strap
Secondary Contacts
(Auxiliary)
Shutterguard
(Closed)
Shutterguard
(Open)
Bus Ports & Connections

## Slide 9: Typical 4160v Circuit Breaker Cubicle (Back)
Current Transformer
Current Transformer(s)
Bus Bar(s)
Maple Plug

## Slide 10: Typical 4160v Circuit Breaker Racking Mechanism
Racking Crank
(Bar)
Racking Crank
(Bar)
4160v Circuit Breaker
4160v Circuit Breaker
Switchgear Compartment Door
Sliding Panel
Unlock Lever

## Slide 11: Typical 4160v Circuit Breaker (Front)
Ground
Charging Lever
Closing Springs
5th Wheel Fitting
Charging Motor Switch
Manual Trip Pushbutton
Position Indicator
Counter
Racking Mechanism
Manual Close Lever

## Slide 12: Typical 4160v Circuit Breaker (Back)
Primary Contacts
(Stabs)
Secondary Contacts
(Auxiliary)
Arc Chutes
Ground
Puffer(s)

## Slide 13: Typical 4160v Circuit Breaker Movable & Stationary Contacts
Puffer
Movable Arcing
Contact
Movable Main
Contact
Stationary Arcing
Contact
Stationary Main
Contact
Normal
Contact Wear

## Slide 14: Typical 4160v Circuit Breaker Arc Formation

## Slide 15: Typical 4160v Circuit Breaker Schematics
Auto Trip Schematic
Spring Charging Motor Schematic

## Slide 16: Typical 480v Circuit Breaker Switchgear Assembly

## Slide 17: Typical 480v Circuit Breaker Component Relationships

## Slide 18: Typical 480v Circuit Breaker Racking Mechanism
Power Shield
Racking Crank
(Bar)
Position Indicator
Indicator Lights
480v Circuit Breaker
Shutter Door
Indicator Lights

## Slide 19: Typical 480v Circuit Breaker Positions
Breaker Position Label

## Slide 20: Typical 480v Circuit Breaker Switchgear Cubicle
Primary Contacts
(Stabs)
Grounding Strap
Secondary Contacts
(Auxiliary)
Tagged Stabs
Unprotected Stabs
Current Transformer
Grounding Strap

## Slide 21: Typical 480v Circuit Breaker Rear of Cabinet
Fuse Block
Terminal Strip
Typical Tagging Point

## Slide 22: Typical 480v Circuit Breaker (Front)
Power Shield
Arc Chutes
Manual Trip Pushbutton
Manual Electrical Close Pushbutton
Charging Motor Switch
Auto Trip Indicator/Reset
Tagging &
Lock Hasp
Racking Shutter (Door)
Open/Close Indicator
Closing Spring Charge Indicator
Manual Close Lever
Auxiliary Switches

## Slide 23: Typical 480v Circuit Breaker (Back)
Primary Contacts
(Stabs)
Secondary Contacts
(Auxiliary)
Charging Spring Motor
Ground
Primary & Secondary CT’s for Powershield

## Slide 24: Typical 480v Circuit Breaker Switchgear Assembly
Movable Arcing
Contact
Movable Main
Contact
Stationary Arcing
Contact
Stationary Main
Contact

## Slide 25: Typical 480v Circuit Breaker Metal & Insulated Arc Chutes

## Slide 26: Typical 480v Circuit Breaker Trip Schematic

## Slide 27: Typical 480v Circuit Breaker Schematic

## Slide 28: Typical 4160v Ground Truck

## Slide 29: Typical 4160v Ground Truck
Door
Door
Connections for grounding cables
Connections for grounding cables
Grounding cables

## Slide 30: Typical 4160v Ground Truck Chassis
Racking Mechanism
Primary Contacts
Ground
Racking Mechanism
5th Wheel Fitting
Racking Mechanism

## Slide 31: Typical 4160v Pot Fuses
Trip String Relays
Drawers
Terminal Strip
Rotary Switch
Undervoltage Knife Switches
Agastat Time Delay Relay

## Slide 32: Typical 4160v Pot Fuses
Pot Fuse Clips
Power Control Secondary
Connection broken when door is opened
Ground

## Slide 33: Typical Motor Control Center

## Slide 34: Typical AC Motor Control Center
Slide Switch
Term Board
Rotary Switch
Thermal Overload Reset
Fuses
Transducer
Auxiliary Contact
Relay
Auxiliary Contact
Fuses
Thermal Overload Reset
Thermal Overload Reset

## Slide 35: Typical DC Motor Control Center
Term Board
Auxiliary Contact

## Slide 36: Typical Motor Control Center
Term Board
Auxiliary Contact
Relay
Rotary Switch
Rotary Switch Connections (fingers)

## Slide 37: Typical Motor Control Center
Term Board
Auxiliary Contact
Slide Switch
Slide Switch Connections (fingers)
Slide Switch Connections (fingers)

## Slide 38
Safety Equipment
Voltage check
‘Rocket’