## Slide 1
ACADs (08-006) Covered
Keywords
History, post-accident sample, containment air, three mile island, NUREG 0578, NUREG 0660, NUREG 0737, Guide 1.97, RCS liquid, plant vents, turbine building vents, isotopic analysis, Ph, dissolved hydrogen, boron.
Description
Supporting Material
Post Accident Sampling System
1.2.1.13 | 1.1.9.4.1 | 3.1.1.11 | 4.2.7.23 |  |  |  | 

## Slide 2: Post Accident Sampling System PASS

## Slide 3: Objectives
Briefly describe the event that triggered the regulations for post accident sampling.
List the four types of samples that are required for a post accident event at Vogtle.
List the RCS variables that are desired to be monitored in a post accident event.

## Slide 4: Objectives
List the containment air variables that are desired to be monitored in a post accident event.
State the importance of measuring some RCS variables that may be desired in a post accident event.
State the importance of measuring some Containment Air variables that may be desired in a post accident event.

## Slide 5: TMI
Worst US commercial power plant accident
Occurred in March 1979
Core melting caused major problems
Samples were extremely difficult to obtain
In that day and time, information from samples was considered crucial
NRC took action

## Slide 6: TMI
HL Loop 4
PRT
PORV
Water
Steam
Temperature Sensor

## Slide 7: TMI Repercussions
NRC implemented guidelines NUREG 0578 and NUREG 0660
These guidelines and requirements not clear to industry
NRC Regulatory Guide 1.97 and NUREG 0737 clarified the above NUREGs
Originally required a Post Accident Sampling System (PASS)
NRC has eliminated the requirements for a PASS at Vogtle.

## Slide 8: PASS Elimination @ Vogtle
PASS not required for emergency response decision making during initial phases of accident
  Some information not necessary
  Needed info effectively provided by other indications
PASS not required but some type of post accident sampling is necessary

## Slide 9: Post Accident Sample Types
RCS Liquid
Containment Air
Plant Vents
Turbine Building Vents

## Slide 10: RCS Variables Of Interest
Isotopic Analysis
pH
Dissolved Hydrogen
Boron

## Slide 11: Importance Of RCS Variables
pH
  Indicator for the corrosion potential of coolant
  Affects precipitate formation
  Affects volatility of various iodine species

## Slide 12: Importance Of RCS Variables
Boron
  May indicate whether or not boron injection systems have functioned
  May indicate possible dilution of boron in coolant
  Can be used to correlate to the performance of incore and excore detectors
Isotopic Analysis
  Identifies isotopes in coolant
  Can be used to indicate amount of fuel damage
  Can be used to correlate with other fuel damage indications
Notes: If only NG and iodine’s predominant, then fuel cladding damage not too severe.
Isotopes of Cs, Rb, and Sr in large amounts indicate substantial fuel cladding damage.
Isotopes of Ce indicate severe fuel damage.

## Slide 13: Importance Of RCS Variables
Dissolved Hydrogen
  Can be an indirect measure of fuel cladding temperature
  Possibly could be used to correlate to the containment atmosphere hydrogen concentration
Notes: If only NG and iodine’s predominant, then fuel cladding damage not too severe.
Isotopes of Cs, Rb, and Sr in large amounts indicate substantial fuel cladding damage.
Isotopes of Ce indicate severe fuel damage.

## Slide 14: Containment Air Variables Of Interest
Isotopic Analysis
Hydrogen concentration

## Slide 15: Importance Of Containment Air Variables
Hydrogen
  Allows for detecting possible explosive conditions inside containment
  Acts as a backup for containment hydrogen monitors
  Also another possible indicator of fuel cladding damage
Isotopic Analysis
  Identifies what isotopes and the concentrations levels of these inside containment
  Can be correlated with other monitors such as the radiation monitors inside containment

## Slide 16: Objectives Review
Briefly describe the event that triggered the regulations for post accident sampling.
List the four types of samples that are required for a post accident event at Vogtle.
List the RCS variables that are desired to be monitored in a post accident event.

## Slide 17: Objectives Review
List the containment air variables that are desired to be monitored in a post accident event.
State the importance of measuring some RCS variables that may be desired in a post accident event.
State the importance of measuring some Containment Air variables that may be desired in a post accident event.