# LAB: Transmission Line Measurements

## Communications Electronics

### Acknowledgements

Subject Matter Expert:  Louis E. Frenzel Jr.

### Purpose

Familiarize students with common measurements on coaxial transmission lines.

### Systems Rationale

Communications equipment, systems and test instruments are generally connected to one another by coaxial cable.  For that reason, it is essential that students know the characteristics of transmission lines using coax cable and how to make basic measurements on them

### System Concepts

This system covers the following system concepts (signified by an X):

_  _ 	S1. A system can be defined in terms of its functional blocks i.e., a “structured functional unit.”

_  _ 	S2. A system has a purpose, transforms inputs into outputs to achieve a goal.

_X_ 	S3. A system is defined by the flow of materials, energy and information, between its functional units.

_  _ 	S4. A system may be open or closed. In an open system additional inputs are accepted from the environment.

_  _ 	S5. A system is more than the sum of its parts. Individual components can never constitute a system.

_  _ 	S6. A system provides feedback to the operator and services to the user. Some system functions may involve operator action.

__ 	S7. Systems have unique problems.

### Student Learning Outcomes

Appropriate SLOs for the lab activity are below.  For a complete list of course SLOs visit:  http://www.esyst.org/Courses/Communications/_delivery/index.php

- Explain the theory of transmission lines, name the most common types and their specifications and make basic calculations with them.

- Define reflection coefficient, standing wave ratio (SWR), and make basic calculations with them.

### Prerequisite Knowledge & Skills

The student should have completed a lecture on transmission line fundamentals and read appropriate textbook assignments related to transmission line characteristics and measurements.

### Learning Objectives

Relevant knowledge (K), skill (S), or attitude (A) student learning outcomes include:

K1.	State the two most common specifications of a coaxial transmission line.

K2.	State the condition for a transmission line that ensures maximum power transfer to the load.

K3.	Define standing wave ratio (SWR).

S1.	Measure SWR.

S2.	Measure the attenuation in dB of a coax cable.

S3.	Measure the complex impedance of a load on a coaxial line.

### Process Overview

In this lab experiment you will become familiar with the test instruments used to measure transmission line characteristics like characteristic impedance, SWR, attenuation and complex load impedance and actually make such measurements.

### Instructional Setting

This lab has been designed to take place in normal lab/classroom setting used in this college.

### Time Needed

Instructor Setup/Cleanup:

This will vary depending on the particular lab room arrangement and storage systems available at your institution.

Student Lab Performance:

It should take students approximately two hours to work through the entire lab.

Student Lab Deliverables:

It should take students approximately one hour of homework time to create the assignment.

### Materials, Equipment, & Supplies Needed

| Coaxial cable (RG-8x) *See note. | 50 to 100 feet |
| --- | --- |
| SO-239 coax connector | 1 |
| PL-259 coax connectors (on coax) | As needed |
| MFJ Enterprises MFJ-269 SWR Analyzer | 1 |
| Coax adapter (N to UHF) | As needed |
| Resistors – ¼-watt (51, 27, 120) | 1 each |
| Capacitors – 68 pF ceramic | 1 each |
| Solder lug | 1 |
| #4 – ½” screw and nut | 1 |
| Instruction Manual for the MFJ-269 | Several |

### Note:  It is strongly recommended that the coax cable be purchased with connectors already attached.  Coax cable is typically sold in 50 or 100 foot lengths with connectors.  RG-8x cable usually comes with PL259 male UHF connectors.  This will greatly facilitate and speed up the lab process eliminating the time consuming and error prone process of putting connectors on the cables.  Depending on the cables you select, you will need to purchase coax adapters that convert N to UHF.  The MFJ-269 uses an N connector for its input/output.

It is also possible to use other cable such as RG-58/U or variations thereof.  It has a 50 impedance but typically uses BNC connectors instead of UHF connectors.  An adapter from N to BNC or UHF to BNC will be needed if an alternate cable is used.

One set of parts for each two students should be adequate.

| Item | Quantity |
| --- | --- |
| Instructor lab guide | 1 |
| Student lab guides | 1/student |
| Instruction manual for MFJ-269 | 1/student team |

### Special Safety Requirements

None

### Lab Preparation

### Quick Tips

Some formal classroom/lab instruction is recommended in preparing students to use the MFJ-269.

### Introduction

Upon completing this lab, the student will be able to make basic SWR and other transmission line measurements.  A common example is testing coax cable and connectors, installing antennas, and troubleshooting equipment interconnected with coax cable.

### Task

In this experiment, the student will measure coax cable impedance, SWR and attenuation by using an instrument known as an SWR analyzer.  This instrument is widely used especially in antenna design, construction, and installation and troubleshooting.  The student will measure SWR, cable attenuation and complex load impedance to determine if the cable connections are appropriate for the application or to perform troubleshooting procedures on a defective system.

### Performance (Part 1):  Impedance and SWR Measurement

1.	Read the MFJ-269 instruction manual to familiarize yourself with its functions, capabilities, controls, displays and connections.

2.	Perform a web search to find the specifications and characteristics of the coax cable you are using.  Determine Zo and attenuation.  The impedance of the RG-8x is 53.5 ohms.  The attenuation at 10 MHz is 1.1 dB /100 feet.

3.	Construct a load for the cable by soldering a 51 ohm resistor to the bottom of a SO-239 coax connector as shown in Figure 2.  (Note:  A 47 or 56 ohm resistor will work just as well.)

4.	Connect one end of the coax cable with it PL-259 connector to the SO-239 connector.

5.	Given the cable and the load resistance (RL) value, calculate the value of the SWR you will measure.  The impedance should be about 51 ohms resistive and SWR should be close to 1.

6.	Connect the N to UHF adapter to the N-connector on the MFJ-269.

7.	Connect the other end of the coax cable to the UHF adapter.

8.	Turn on the MFJ-269.  Set the band switch to the 4 - 10 MHz range.  Tune the frequency to 5 MHz.

9.	Read the impedance and SWR from the MFJ-269 LCD display.  Impedance should be close to 51 ohms and SWR of 1.

10.  	How do your measurements compare to your calculated values?  Explain any differences.  Instrument measurement error and tolerances of cable and resistor would account for any differences.

11.	Turn off the MFJ-269.

12.	Unsolder the 51 ohm resistor and install a 27 ohm resistor in its place.

13.	Turn on the MFJ-269.  Repeat steps 5, 9 through 11.  With 27 ohm load impedance will show some reactance (37 – j23) and SWR should be about 1.9.

14.	Remove the 27 ohm resistor and replace it with a 120 ohm resistor. With 120 ohm load impedance will show some reactance (80 + j48) and SWR should be about 2.2.

15.	Turn on the MFJ-269.  Repeat steps 5, 9 through 11.

### Performance (Part 2):  Cable Attenuation

16. 	Determine the exact type of the coax cable you are working with.  Then verify its exact length by measuring it.  Note the length in feet.

17.	Search the Internet for attenuation figures for the type of cable you are using.  Determine the loss per foot in dB at 10 MHz and 50 MHz from tables or curves provided in data sheets or other sources.

(e.g., http://www.qsl.net/w2va/coax.htm)

18.	Using the attenuation figures and the length of the cable calculate the total attenuation of your cable at 10 and 50 MHz.  1.1 dB for 100 feet at 10 MHz and 2.5 dB at 50 MHz.

19.	Connect one end of the cable to the MFJ-269.  Leave the other end of the cable open with nothing connected.

20.	Power up the MFJ-269 and set the frequency to 10 MHz.

21.	Press the Mode button on the MFJ-269 to display the measured attenuation.

22.	Adjust the frequency of the MFJ-269 to 50 MHz.

23.	Repeat steps 20 and 21.  Measured values should be very close to the figures in the attenuation tables of your sources.

24.	Compare your calculated and measured values and account for any differences. Instrument measurement error and tolerances of cable and resistor would account for any differences.

### Performance (Part 3):  Impedance Transformation

25.	Connect 120-ohm resistor in series with a 68 pF ceramic capacitor and connect the combination as a load to the SO-239 coax connector.

26.	Connect the free end of the RG-8x cable to the SO-239 connector.

27.	Calculate the impedance of the load at 5 MHz and express it in complex form

(R ± jX).  Impedance of the  Z of load = 120 – j468.

27.	Turn on the MFJ-269 and set the frequency to 5 MHz.  Note the impedance and SWR.  With 100 feet of RG-8x, the measured impedance was 60 + j52.

28.	Explain why the measured value and actual values are different.

When the transmission line does not see a load at its characteristic impedance, reflections occur and SWR is greater than 1.  Therefore the impedance seen by the generator is some combination of the actual load and the reflection effects on the line determined by its actual electrical length at the frequency of operation.

29.	Is there any way to determine what impedance the generator will see given the actual load impedance, the frequency of operation, cable length and velocity factor?  Use a Smith chart to accurately determine what the generator will actually see.

Questions

Use your textbook, class notes, online references or any other sources to answer these questions.  You should cover these points in a lecture.

1.	The ideal SWR is

a.	0

b.	1

c.	<2

d. 	Infinite

2.	What value of load resistance will produce a maximum power transfer on an RG-6/U coax cable?  75 ohms

3.	How will cable length affect SWR if the load impedance is matched to the cable impedance?  Length of cable should not affect SWR if the load and cable impedances are the same.

4.	For a given necessary length, how can cable attention be reduced?  Choose a cable with lower loss per foot.

5.	What is the generally accepted maximum SWR value for best power transfer to the load?  SWR <2 will transfer 90% or more of the generator power to the load.

### Assessment & Grading

It is the instructor’s decision as to how students’ learning will be assessed and how this activity is graded.  No specific assessment or grading information is included in the student lab guide.  You may choose to integrate the sample assessment & grading guide below:

Grading will be in the form of checking student’s calculations and measurement for correctness then evaluating the answers to the questions.  A letter grade is assigned.