Flow Chart for Lithography Alignment Lab

Ellipsometer measurements

.25 hrs

BOE establish etch rate of SiO2

Lithography

Profilometer scans of PR and etch feature

Profilometer scans of PR features

Wet etch one sample

Profilometer scans of etch features

Dry etch one sample

Lithography

Strip photoresist

Alignment expose develop

Final microscope images

.25 hr.

.25 hr.

.5 hr.

.25 hr.

.25 hr.

.25 hr.

.75 hr.

.25 hr.