## Slide 1
Introduction to Commercial Building Audits
Course No. ENRG 50

## Slide 2
Outline
A. Introduction to concept of commercial building energy auditing
  1. Why energy efficiency (EE) is important
  2. Energy use and waste in commercial building operations
  3. Prioritizing energy efficiency over renewable energy generation
B. Ordinances, policies and standards governing commercial building audits
  1. San Francisco Existing Commercial Buildings Performance Ordinance
  2. State of California energy goals
  3. ASHRAE standards, including Building Energy Assessment Professional (BEAP)
  4. Other audit standards
C. Three ASHRAE audit levels
  1. Preliminary energy use analysis
  2. Level 1, Walk-through analysis
  3. Level 2, Intermediate, energy survey and energy analysis
  4. Level 3, Detailed analysis of capital-intensive modifications
D. Developing the scope of work in a commercial building audit
  1. Objectives of the audit, including needed data and resources
  2. Assessment management
  3. Responsibilities of audit team members
E. Elements in preliminary analysis of building performance data
  1. Engineering and architectural document review
  2. Geographical and climatic review
  3. Review and analysis of current energy use and costs
  4. Benchmarking procedures
F. Factors in on-site building assessment
  1. Common safety hazards and field safety techniques
  2. Occupant interviews and assessment of building operations
  3. Building envelope
  4. Electrical systems
  5. HVAC&R systems
  6. Lighting systems and use
  7. Miscellaneous other energy use systems
  8. Domestic water systems and use
  9. Indoor environmental quality
G. Analysis of data collected
  1. Identify opportunities for efficiency improvement
  2. Calculate value of efficiency improvements and return on investment
  3. Prioritize options based on client criteria
H. Audit completion activities
  1. Prepare and present written report
  2. Assist with development of implementation plan
Introduction to Commercial Building Audits
Course No. ENRG 50

## Slide 3
F. Factors in on-site building assessment
  1. Common safety hazards and field safety techniques
  2. Occupant interviews and assessment of building operations
  3. Building envelope
  4. Electrical systems
  5. HVAC&R systems
  6. Lighting systems and use
  7. Miscellaneous other energy use systems
  8. Domestic water systems and use
  9. Indoor environmental quality
Introduction to Commercial Building Audits
Course No. ENRG 50

## Slide 4
Course No. ENRG 50
Common safety hazards and field safety techniques
1. Common safety hazards and field safety techniques
    Prepared during the day of on-site survey, you may:
    - climb a ladder
    - enter a interstitial space or get on roof
    - check the roof
    - work in hot, cold, freezing, noisy and/or dark space
    - be exposed to chemical hazard if for laboratory
    Dress appropriately
    - avoid loose clothing and jewelry;
    - avoid open-toe shoes
    - wear glasses/gargle when necessary

## Slide 5
Course No. ENRG 50
Safety tips
1. Common safety hazards and field safety techniques
    Work in group or in pair if possible
    Get familiar with the building and emergency exit
    Wear eye and ear protection if necessary
    Make sure all ladders are secure
    Do not touch equipment and ask facility staff to help if needed
http://www.johnderbyshire.com

## Slide 6
Course No. ENRG 50
Site Visit Safety Activity
1. Common safety hazards and field safety techniques
    Aspects of facilities where safety is a concern:
    - Hard to reach equipment (require ladders)
    - Rotary equipment
    - Hot surfaces
    - Combustion gases
    - Pipes and other low-hanging equipment
    - Keyed entries and automated door locks
    - pressurized spaces
    information source: PG&E Energy Auditing Techniques

## Slide 7
Course No. ENRG 50
Site Visit Safety Activity
1. Common safety hazards and field safety techniques
    Environmental/behavior factors that add to risk:
    - Need to move quickly
    - Move on sloped surface/roof
    - Low Lighting in some areas
    - Noisy environments
    - Extreme hot or cold conditions
    - Wet/slick floors
    - Code compliance issues (electrical, gas, refrigerant…)
    information source: PG&E Energy Auditing Techniques

## Slide 8
F. Factors in on-site building assessment
  1. Common safety hazards and field safety techniques
  2. Occupant interviews and assessment of building operations
  3. Building envelope
  4. Electrical systems
  5. HVAC&R systems
  6. Lighting systems and use
  7. Miscellaneous other energy use systems
  8. Domestic water systems and use
  9. Indoor environmental quality
Introduction to Commercial Building Audits
Course No. ENRG 50

## Slide 9
Course No. ENRG 50
Occupant interviews and assessment of building operations
2. Occupant interviews and assessment of building operations
    Who should be interviewed? (if applicable)
    - executive team
    - energy manager
    - facility manager
    - facility staff
    - facility users/customers

## Slide 10
Course No. ENRG 50
Occupant interviews and assessment of building operations
2. Occupant interviews and assessment of building operations
    What questions should be asked?
    Homework of Chapter D, you have already generate a questionnaire for on-line energy interview.
    Practice to ask those questions to the facility manager and finish the questionnaire report.

## Slide 11
F. Factors in on-site building assessment
  1. Common safety hazards and field safety techniques
  2. Occupant interviews and assessment of building operations
  3. Building envelope
  4. Electrical systems
  5. HVAC&R systems
  6. Lighting systems and use
  7. Miscellaneous other energy use systems
  8. Domestic water systems and use
  9. Indoor environmental quality
Introduction to Commercial Building Audits
Course No. ENRG 50

## Slide 12
Course No. ENRG 50
Building envelope system
3. Building envelope
Opaque enclosure – wall, roof, floor
Fenestration – windows, skylights, shading devices

## Slide 13
Course No. ENRG 50
Opaque classes of construction
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 14
Course No. ENRG 50
Opaque classes of construction
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 15
Course No. ENRG 50
ASHRAE Standard 90.1 – Envelope classifications
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 16
Course No. ENRG 50
Indirectly conditioned space
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 17
Course No. ENRG 50
Opaque enclosure heat transfer
3. Building envelope
R-value
- Thermal resistance
- Add layers for total R-value
- Larger R-value has greater thermal resistance
U-factor
- Thermal transmittance
- = 1/R-value
- IP unites = Btu/hr-°F-ft2
- SI units = W/°C-m2
U-Factor is the rate of heat flow in Btu/h through one ft2 area when one side is 1° F warmer

## Slide 18
Course No. ENRG 50
U-Factor calculation – concrete floor
3. Building envelope

## Slide 19
Course No. ENRG 50
U-Factor calculation – wood framed wall – parallel path
3. Building envelope

## Slide 20
Course No. ENRG 50
U-Factor calculation – steel framed wall
3. Building envelope

## Slide 21
Course No. ENRG 50
Application of U-Factor calculation methods
3. Building envelope

## Slide 22
Course No. ENRG 50
Fenestration prescriptive requirements
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 23
Course No. ENRG 50
Fenestration & doors
3. Building envelope
The following are mandatory provisions for fenestration and doors:
Rating of fenestration products
Labeling of fenestration products
Labeling of doors
U-factor
Solar heat gain coefficient
Visible light transmittance

## Slide 24
Course No. ENRG 50
Fenestration & Doors
3. Building envelope
NFRC-National Fenestration Rating Council:
a non-profit organization that administers the only uniform, independent rating and labeling system for the energy performance of windows, doors, skylights, and attachment products.
http://www.nfrc.org/default.aspx

## Slide 25
Course No. ENRG 50
Fenestration & Doors
3. Building envelope
http://www.nfrc.org/default.aspx
U-factor:
- measures how well a product prevents heat from escaping.
- 0.20 ~ 1.20
- the lower, the better its insulting value
Solar Heat Gain Coefficient:
- measures how well a product blocks heat caused by sunlight
- 0~1
- the lower, the less solar heat it transmits
Visible Transmittance:
- measured how much light comes through a product
- 0~1
- the higher, the more light is transmitted
Air Leakage:
- indicated by an air leakage rating expressed as the equivalent cubic feet of air passing through a square foot of window area (cfm/sq ft)
Condensation Resistance:
- measured the ability of a product to resist the formation of condensation on the interior surface of that product.
- 1~100

## Slide 26
Course No. ENRG 50
Air leakage: Vestibules
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf
Applies to:
- doors that separate conditioned space from the exterior.
Requirements:
- such doors shall be protected with an enclosed vestibule.
- all doors opening into or out of the vestibule shall be equipped with self-closing devices
- interior and exterior doors shall:
1) not be required to be open at the same time
2) be separated by a minimum distance of 7 ft, when closed.

## Slide 27
Course No. ENRG 50
Climate Zone 1A, Fenestration Elements only
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 28
Course No. ENRG 50
Climate Zone 2(A, B) Fenestration Elements only
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 29
Course No. ENRG 50
Climate Zone 4 (A,B) Fenestration Elements only
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 30
Course No. ENRG 50
Climate Zone 6(A,B) Fenestration Elements only
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 31
Course No. ENRG 50
Glazing types
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf

## Slide 32
Course No. ENRG 50
Credit for external shading
3. Building envelope
http://ali.ashrae.biz/2012winterconferencecourses/std90-1envelope/Complying_90-1-2010_Env_Ltg_Chicago_2012_Final_Slides.pdf