## Slide 1: Chapter 21
Semiconductor Input Devices
Section 21-1 Thermistors
Section 21-2 Photoconductive Cells
Section 21-3 Photoconductive Diodes
Section 21-4 Pressure Sensors
Section 21-5 Flow Detection Sensors
Section 21-6 Hall Effect Sensors
Section 21-7 Proximity Sensors
Section 21-8 Ultrasonic Sensors
Notes: Chapter 21-<number>

## Slide 2: Objectives Section 21-1 Thermistors
Define thermistor and describe the classes of thermistors.
Explain how to test thermistors.
Notes: Chapter 21-<number>

## Slide 3
A thermistor is a temperature-sensitive resistor whose resistance changes with a change in temperature.
Notes: A thermistor is a temperature‑sensitive resistor whose resistance changes with a change in temperature. See Figure 21-1. Thermistors are popular because of their small size, which allows them to be mounted in places that are inaccessible to other temperature‑sensing devices.
Chapter 21-<number>

## Slide 4
In the presence of fire, the increase in temperature lowers the resistance of an NTC thermistor, which increases current and activates an alarm.
Notes: A fire alarm circuit is a common application of an NTC thermistor. See Figure 21-2. The purpose of this circuit is to detect a fire and activate an alarm. In normal operating environments, the resistance of the thermistor is high because ambient temperatures are relatively low. The high resistance keeps the current to the control circuit low. The alarm remains OFF. However, in the presence of a fire, the increased ambient temperature lowers the resistance of the thermistor. The lower resistance allows current flow, activating the alarm.
Chapter 21-<number>

## Slide 5
The hot and cold resistance of a thermistor can be checked with a DMM.
Notes: A thermistor must be properly connected to an electronic circuit. Loose or corroded connections create a high resistance in series with the thermistor resistance. The control circuit may sense the additional resistance as a false temperature reading. The hot and cold resistance of a thermistor can be checked with a DMM. See Figure 21-3. To test the hot and cold resistance of a thermistor, the following procedure is applied:
1. Remove the thermistor from the circuit.
2. Connect the DMM leads to the thermistor leads and place the thermistor and a thermometer in ice water. Record the temperature and resistance readings.
3. Place the thermistor and thermometer in hot water (not boiling). Record the temperature and resistance readings. Compare the hot and cold readings with the manufacturer specification sheet or with a similar thermistor that is known to be good.
Chapter 21-<number>

## Slide 6: 21-1 Checkpoint
What happens to the resistance of a PTC thermistor when it is heated?
What happens to the resistance of an NTC thermistor when it is heated?
What is the most commonly used thermistor type?
Notes: Chapter 21-<number>

## Slide 7: Objectives Section 21-2 Photoconductive Cells
Describe photoconductive cells (photocells) and give examples of how they are used.
Explain how to test photocells.
Notes: Chapter 21-<number>

## Slide 8
A photocell can be used to determine if the pilot light on a gas furnace is ON or OFF.
Notes: A photocell can be used to control the pilot light in a gas furnace. See Figure 21-4. In this application, the light level determines if the pilot light (flame) in the furnace is ON or OFF. When a pilot light is present, the light from the flame reduces the resistance of the photocell. Current is allowed to pass through the cell and activate a control relay. The control relay allows the main gas valve to be energized when the thermostat calls for heat. The same procedure would be used for similar applications such as gas-powered water heaters, clothes dryers, and ovens (commercial or residential), as well as similar electrical applications.
Chapter 21-<number>

## Slide 9
A photocell can be used to determine when a streetlight should turn on or off.
Notes: A photocell can also be used in a streetlight circuit. See Figure 21-5. In this circuit, an increase of light at the photocell results in a decrease in resistance and current flow through the solid-state relay. The increased current in the relay causes the normally closed (NC) contacts to open, and the light turns off. The resistance increases with darkness, causing the NC contacts to return to their original position and turning on the light.
Chapter 21-<number>

## Slide 10
Humidity and contamination are the primary causes of photocell failure.
Notes: Humidity and contamination are the primary causes of photocell failure. See Figure 21-6. The use of quality components that are hermetically sealed is essential for long life and proper operation. Some plastic units are less rugged and more susceptible to temperature changes than glass units. To test the resistance of a photocell, the following procedure is applied:
1. Disconnect the photocell from the circuit.
2. Connect the DMM leads to the photocell.
3. Cover the photocell and record dark resistance.
4. Shine a light on the photocell and record light resistance.
5. Compare the resistance readings with manufacturer specification sheets. Use a similar photocell that is known to be good when specification sheets are not available. All connections should be tight and corrosion free.
Chapter 21-<number>

## Slide 11: 21-2 Checkpoint
What happens to the resistance of a photoconductive cell as light on it increases?
What happens to the current flowing through a photoconductive cell as light on it increases?
Notes: Chapter 21-<number>

## Slide 12: Objectives Section 21-3 Photoconductive Diodes
Define photoconductive diode (photodiodes) and explain how it operates.
Notes: Chapter 21-<number>

## Slide 13
A photodiode is a diode that is switched on and off by a light.
Notes: A photoconductive diode (photodiode) is a diode that is switched on and off by light. A photodiode is similar internally to a regular diode. The primary difference is that a photodiode has a lens in its housing for focusing light on the PN junction. See Figure 21-7.
Chapter 21-<number>

## Slide 14
Photodiodes are used to position objects and turn machine functions on and off.
Notes: In a filling machine, a constant light source is placed across the conveyor from the photodiode so that cartons can move between the light source and the photodiode. See Figure 21-8. The photodiode is energized as long as there are no cartons in the way to prevent light from passing. The photodiode de-energizes when a carton passes between the light source and the photodiode. The programmable logic controller (PLC) records the response and stops the conveyor, placing the carton in the correct position and filling the carton. This arrangement eliminates the need for slow mechanical equipment.
Chapter 21-<number>

## Slide 15: 21-3 Checkpoint
What happens to the resistance of a photodiode when light is shining on it?
What happens to the current flowing through a photodiode when light is shining on it?
Notes: Chapter 21-<number>

## Slide 16: Objectives Section 21-4 Pressure Sensors
Define and describe pressure sensors.
Explain how to test a pressure sensor.
Notes: Chapter 21-<number>

## Slide 17
A pressure sensor is a transducer that changes resistance with a corresponding change in pressure.
Notes: A pressure sensor is a transducer that outputs a voltage or current with a corresponding change in pressure. See Figure 21-9. Pressure sensors come in a wide range of pressure ranges. A voltage-output pressure sensor typically outputs 0 VDC to 10 VDC proportional to the rating of the pressure sensor. A current-output pressure sensor typically outputs 4 mA to 20 mA proportional to the rating of the pressure sensor. A pressure sensor can include a switching output (contact or solid-state) that is designed to activate or deactivate when the sensor reaches a predetermined value.
Chapter 21-<number>

## Slide 18
Pressure sensors are tested by checking the voltage or current output and then comparing the value to the manufacturer specification sheets.
Notes: Pressure sensors are tested by checking the voltage or current output and then comparing the value to manufacturer specification sheets. See Figure 21-10. To test a pressure sensor, the following procedure is applied:
1. Disconnect the pressure sensor from the circuit.
2. Connect the DMM leads to the pressure sensor.
3. Activate the device being monitored (compressor, air tank, etc.) until pressure builds up. Record the voltage or current (depending on output type) of the pressure sensor at the high‑pressure setting.
4. Open the relief or exhaust valve and reduce the pressure on the sensor. Record the voltage or current of the pressure sensor at the low‑pressure setting.
5. Compare the high and low voltage or current readings with manufacturer specification sheets. Use a replacement pressure sensor that is known to be good when manufacturer specification sheets are not available.
Chapter 21-<number>

## Slide 19: 21-4 Checkpoint
If a pressure sensor that is rated to output 0 VDC to 10 VDC with a specified pressure operating range of 0 psi to 500 psi outputs 2 VDC, is it working properly according to manufacturer specifications?
If a pressure sensor that is rated to output 4 mA to 20 mA DC with a specified pressure operating range of 0 psi to 500 psi outputs 2.5 mA, is the pressure sensor working properly according to manufacturer specifications?
Notes: Chapter 21-<number>

## Slide 20: Objectives Section 21-5 Flow Detection Sensors
Define and describe flow detection sensors.
Notes: Chapter 21-<number>

## Slide 21
A solid-state flow detection sensor operates on the principle of thermal conductivity.
Notes: A flow detection sensor operates on the principle of thermal conductivity. The flow detection sensor head, which is in contact with the medium (liquid or air) to be detected, is heated to a temperature that is a few degrees higher than the medium to be detected. When the medium is flowing, the heat produced at the sensor head is conducted away from the sensor, cooling the sensor head. When the medium stops flowing, the heat produced by the sensor head is not conducted away from the sensor head. A thermistor in the sensor head converts the heat not conducted away into a stronger electrical signal than what is produced when the heat is conducted away. This electrical signal is used to operate the sensor’s output (contacts, transistor, etc.). See Figure 21-11.
Chapter 21-<number>

## Slide 22
A flow detection sensor can be used to monitor product flow in a pipe.
Notes: When used to monitor the flow of a liquid, a flow detection sensor is mounted within a pipe in which there should be flow during normal operation. The sensor can be mounted in a vertical or horizontal pipe and the product can flow in either direction. See Figure 21-12.
Chapter 21-<number>

## Slide 23
A flow detection sensor can be used to monitor airflow in painting or welding exhaust system applications.
Notes: When used to monitor the flow of a gas (usually air), a flow detection sensor can be mounted within a duct in which there should be flow during normal operation. However, if the flow is critical for a safe work environment, several flow sensors can be used to ensure the flow is moving in all parts of the exhaust system. See Figure 21-13.
Chapter 21-<number>

## Slide 24: 21-5 Checkpoint
In a thermal-type flow detection sensor, does the sensor’s thermistor produce higher or lower electrical signal when there is no flow?
Is a thermal-type flow detection sensor a fast-acting or slow-acting change detection type?
Notes: Chapter 21-<number>

## Slide 25: Objectives Section 21-6 Hall Effect Sensors
Define Hall effect sensor and explain the Hall effect.
Explain how Hall effect sensors operate.
Explain how Hall effect sensors may be actuated.
Describe Hall effect sensor applications.
Notes: Chapter 21-<number>

## Slide 26
A Hall generator is a thin strip of semiconductor material through which a constant control current is passed.
Notes: A Hall generator is a thin strip of semiconductor material through which a constant control current is passed. See Figure 21-14. When a magnet is brought near the Hall generator with its field directed at right angles to the face of the semiconductor, a small voltage (Hall voltage) appears at the contacts placed across the narrow dimension of the Hall generator.
Chapter 21-<number>

## Slide 27
Hall effect sensors are available in a variety of packages for different applications.
Notes: To meet many different application requirements, Hall effect sensors are packaged in a number of different configurations. Typical configurations include cylinder, proximity, vane, and plunger. See Figure 21-15. Cylinder and proximity Hall effect sensors are used to detect the presence of a magnet. Vane Hall effect sensors include a sensor on one side and a magnet on the other, and are used to detect an object passing through the opening. Plunger Hall effect sensors include a magnet that is moved by an external force acting against a lever.
Chapter 21-<number>

## Slide 28
In head-on actuation, a magnet is oriented perpendicular to the surface of the sensor and is usually centered over the point of maximum sensitivity.
Notes: Head-on actuation is an active method of Hall effect sensor activation in which a magnet is oriented perpendicular to the surface of the sensor and is usually centered over the point of maximum sensitivity. See Figure 21-16. The direction of movement is directly toward and away from the Hall effect sensor. The actuator and Hall effect sensor are positioned so the south (S) pole of the magnet approaches the sensitive face of the sensor.
Chapter 21-<number>

## Slide 29
In slide-by actuation, a magnet is moved across the face of a Hall effect sensor at a constant distance (gap).
Notes: Slide-by actuation is an active method of Hall effect sensor activation in which a magnet is moved across the face of a sensor at a constant distance (gap). See Figure 21-17. The primary advantage of slide-by actuation over head-on actuation is that less actuator travel is needed to produce a signal large enough to cycle the device between operate and release.
Chapter 21-<number>

## Slide 30
Pendulum actuation is a combination of the head-on and slide-by actuation methods.
Notes: Pendulum actuation is a method of Hall effect sensor activation that is a combination of the head-on and slide-by actuation methods. See Figure 21-18. The two methods of pendulum actuation are single-pole and multiple-pole. Single or multiple signals are generated by one actuator.
Chapter 21-<number>

## Slide 31
In vane actuation, an iron vane shunts or redirects the magnetic field in the air gap away from the Hall effect sensor.
Notes: Vane actuation is a passive method of Hall effect sensor activation in which an iron vane shunts or redirects the magnetic field in the air gap away from the sensor. See Figure 21-19. When the iron vane is moved through the air gap between the Hall effect sensor and the magnet, the sensor is turned on and off sequentially at any speed due to the shunting effect. The same effect is achieved with a rotary-operated vane.
Chapter 21-<number>

## Slide 32
A Hall effect sensor may be used for monitoring a remote conveyor operation.
Notes: A Hall effect sensor may be used for monitoring a remote conveyor operation. See Figure 21-20. In this application, a cylindrical Hall effect sensor is mounted to the frame of the conveyor. A magnet mounted on the tail pulley revolves past the sensor to cause an intermittent visual or audible signal at a remote location to ensure that the conveyor is running. Any shutdown of the conveyor interferes with the normal signal and alerts the operator. Maintenance is minimal because the sensor makes no physical contact and has no levers or linkages to break.
Chapter 21-<number>

## Slide 33
Each change in polarity results in an output from a Hall effect sensor used in a shaft speed sensor application.
Notes: Sensing the speed of a shaft is one of the most common applications of a Hall effect sensor. The magnetic field required to operate the sensor may be furnished by individual magnets mounted on the shaft or hub or by a ring magnet. Each change in polarity results in an output signal. See Figure 21-21.
Chapter 21-<number>

## Slide 34
A Hall effect sensor can be used to monitor the level of liquid in a tank.
Notes: Another application of a Hall effect sensor is as a low-liquid warning sensor. A low-liquid warning sensor measures and responds to the level of a liquid in a tank. One method used to determine the liquid level in a tank uses a notched tube with a cork floater inserted into the tank. The magnet is mounted in the cork floater assembly, which is forced to move in one plane (vertically). As the liquid level goes down, the magnet passes the digital output sensor Hall effect sensor. The liquid level is indicated when the sensor is actuated. See Figure 21-22.
Chapter 21-<number>

## Slide 35
A door-interlock system can be designed using a Hall effect sensor, a magnetic card, and associated electronic circuitry.
Notes: A door-interlock security system can be designed using a Hall effect sensor, a magnetic card, and associated electronic circuitry. See Figure 21-23. In this circuit, the magnetic card slides by the sensor and produces an analog output signal. This analog signal is converted to a digital signal to provide a crisp signal to energize the door latch relay. When the solenoid of the relay pulls in, the door is unlocked. For systems that require additional security measures, a series of magnets may be molded into the card.
Chapter 21-<number>

## Slide 36
Hall effect sensors are used in beverage gun applications because of their small size, sealed construction, and reliability.
Notes: Hall effect sensors are used in beverage gun applications because of their small size, sealed construction, and reliability. See Figure 21-24. The small size of the Hall effect sensor allows seven sensors to be installed in a hand-held device. Hall effect sensors cannot be contaminated by syrups, liquids, or foodstuffs because they are completely enclosed in the beverage gun. The beverage gun is also completely submersible in water for easy cleaning and only requires low maintenance.
Chapter 21-<number>

## Slide 37
Length measurement can be accomplished by mounting a disk with two notches on the extension of a motor drive shaft.
Notes: Length measurement can be accomplished by mounting a disk with two notches on the extension of a motor drive shaft. See Figure 21-25. In this circuit, a vane Hall effect sensor is mounted so that the disk passes through the gap. Each notch represents a fixed length of material and can be used to measure tape, fabric, wire, rope, thread, aluminum foil, plastic bags, etc.
Chapter 21-<number>

## Slide 38
Hall effect sensors may be installed in the base of a machine to indicate the level or degree of tilt.
Notes: Hall effect sensors may be installed in the base of a machine to indicate the level or degree of tilt. See Figure 21-26. Magnets are installed above the Hall effect sensors in a pendulum fashion. The machine is level as long as the magnet remains directly over the sensor. A change in state of output (when a magnet swings away from a sensor) is indication that the machine is not level. The sensor and magnet combination may also be installed in such a manner as to indicate the degree of tilt.
Chapter 21-<number>

## Slide 39
Hall effect sensors may be used in a joystick application.
Notes: Hall effect sensors may be used in a joystick application. See Figure 21-27. In this application, the Hall effect sensors inside the joystick housing are actuated by a magnet on the joystick. The proximity of the magnet to the sensor controls the activation of different outputs used to control cranes, operators, motor control circuits, wheelchairs, etc. Use of an analog device also achieves degree of movement measurements such as speed.
Chapter 21-<number>

## Slide 40: 21-6 Checkpoint
Is the output of a Hall effect sensor of the digital (ON/OFF) type or analog (varying) type as a magnet moves closer to the sensor?
Can a magnet actuate a Hall effect sensor by moving in a sideways or straight manner?
Notes: Chapter 21-<number>

## Slide 41: Objectives Section 21-7 Proximity Sensors
Define proximity sensor and explain how it operates.
Explain the difference between an inductive proximity sensor and a capacitive proximity sensor.
Notes: Chapter 21-<number>

## Slide 42
Proximity sensors are available in an assortment of sizes and shapes to meet as many application requirements as possible.
Notes: Proximity sensors can detect very small objects, such as microchips, and very large objects, such as automobile bodies. All proximity sensors have encapsulated solid-state circuits that may be used in high-vibration areas, wet locations, and fast-switching applications. Proximity sensors are available in an assortment of sizes and shapes to meet as many application requirements as possible. See Figure 21-28.
Chapter 21-<number>

## Slide 43
Inductive proximity sensors use a magnetic field to detect the presence of a metallic target.
Notes: Inductive proximity sensors operate on the eddy current killed oscillator (ECKO) principle. The ECKO principle states that an oscillator produces an alternating magnetic field that varies in strength depending on whether or not a metallic target is present. The generated alternating field operates at a radio frequency (RF). See Figure 21-29.
Chapter 21-<number>

## Slide 44
Capacitive proximity sensors use a capacitive field to detect the presence of a target.
Notes: A capacitive proximity sensor measures a change in capacitance that is caused by the approach of an object to the electrical field of a capacitor. A capacitive proximity sensor detects all materials that are good conductors in addition to insulators that have a relatively high dielectric constant. A dielectric is a nonconductor of direct electric current. Capacitive sensors can detect materials such as plastic, glass, water, moist wood, etc. See Figure 21-30.
Chapter 21-<number>

## Slide 45
Capacitive sensors work based on the dielectric constant of the material to be sensed.
Notes: Two small plates that form a capacitor are located directly behind the front of the sensor. When an object approaches the sensor, the dielectric constant of the capacitor changes, thus changing the oscillator frequency, which activates the sensor output. Nominal sensing distances range from 3 mm to about 15 mm. The maximum sensing distance depends on the physical and electrical characteristics (dielectric) of the object to be detected. The higher the dielectric constant, the easier it is for a capacitive sensor to detect the material. Generally, any material with a dielectric constant greater than 1.2 may be detected. See Figure 21-31.
Chapter 21-<number>

## Slide 46: 21-7 Checkpoint
What type of proximity switch detects metallic objects?
What type of proximity switch detects any object that has a high dielectric constant?
Notes: Chapter 21-<number>

## Slide 47: Objectives Section 21-8 Ultrasonic Sensors
Define ultrasonic sensor and explain how it operates.
Explain the difference between a direct mode ultrasonic sensor and a diffused mode ultrasonic sensor.
Notes: Chapter 21-<number>

## Slide 48
Ultrasonic sensors detect objects by bouncing high-frequency sound waves off the objects.
Notes: The two basic operating modes of ultrasonic sensors are the direct mode and the diffused mode. In the direct mode, an ultrasonic sensor operates like a direct-scan photoelectric sensor. In the diffused mode, an ultrasonic sensor operates like a scan diffuse photoelectric sensor. See Figure 21-32.
Chapter 21-<number>

## Slide 49
An ultrasonic sensor used in the diffused mode can provide an analog output that varies linearly with the target’s distance from the sensor.
Notes: Diffused mode is a method of ultrasonic sensor operation in which the emitter and receiver are housed in the same enclosure. In the diffused mode, the emitter sends out a sound wave and the receiver listens for the sound wave echo bouncing back off an object. Ultrasonic sensors used in the diffused mode may include a digital output or an analog output. The analog output provides an output voltage that varies linearly with the target’s distance from the sensor. See Figure 21-33. The sensor typically includes a light-emitting diode (LED) that glows with intensity proportional to the strength of the echo. The analog output sensor includes an adjustable background suppression feature that allows the sensor to better detect only the intended target and not background objects.
Chapter 21-<number>

## Slide 50: 21-8 Checkpoint
What is the operating mode of an ultrasonic sensor called when the emitter sound waves travel in only one direction to the receiver?
What is the operating mode of an ultrasonic sensor called when the emitter sound waves travel in one direction to the detected object and bounces back in the opposite direction to the receiver?
Notes: Chapter 21-<number>