LAB HOA 1

A large exhaust fan is operated by a Hand-Off-Auto 3 position selector switch. In the Hand position, START-STOP pushbuttons are used to manually control the fan. The START pushbutton is pressed to start the fan and the STOP pushbutton is pressed to stop the fan (regardless of temperature). In the Auto position, a temperature switch is used to start the fan when the temperature reaches 100 °F. In the Off position, the fan will not operate.