## Slide 1: Chapter Thirteen
Data Manipulation
Notes: <number>

## Slide 2: Objectives
Explain what data transfer is
Define the term writing over
Write a rung of logic that transfers data from one word to another
Identify the standard data compare instructions

## Slide 3: Objectives (cont’d.)
Write logic that compares data to control an output

## Slide 4: Data Transfer
Moving numeric information from one memory word location to another
Words in user memory
  Data table words
  Holding registers
  Storage register words
Writing over data replaces existing data

## Slide 5
Figure 13-1a Numeric data stored in words 0 and 1 of file N7

## Slide 6
Figure 13-1b Data transferred from word 0 of file N7 into word 1 of file N7

## Slide 7: Allen-Bradley PLC-5, SLC 500, and MicroLogix Data Transfer Instructions
Move instruction (MOV)
  Used for moving data from one word to another
  Rung that holds MOV instruction must be true for move to occur

## Slide 8
Figure 13-2 PLC-5 MOV format

## Slide 9: Data Transfer Instructions (cont’d.)
Example: Figure 13-3
  Machine produces product A and product B
  Product A requires time delay of 10 seconds
  Product B requires 20 second delay
Masked move instruction (MVM)
  Portions of the data can be blocked from being copied

## Slide 10
Figure 13-3 MOV instruction used to change timer preset values

## Slide 11
Figure 13-5 Masked move (MVM) instruction format

## Slide 12
Figure 13-6 Mask bits used to block transfer of data from source address into destination address

## Slide 13: Data Compare
Compare data stored in two or more words
  Less than
  Equal to
  Greater than
  Less than or equal to
  Greater than or equal to
  Not equal to

## Slide 14: Allen-Bradley PLC-5, SLC 500, and MicroLogix Data Compare Instructions
Figure 13-7 Allen-Bradley PLC-5 Equal to instruction

## Slide 15
Figure 13-9 Allen-Bradley PLC-5 Greater than instruction
Figure 13-8 Allen-Bradley PLC-5 Greater than or equal to instruction

## Slide 16: Low Limit
Constant or an address
  Determines lower limit of the test range
Value can be integer or floating point
Figure 13-21 PLC-5 Limit test instruction format

## Slide 17: Test Value
Address containing value to be examined
  Determine whether it is inside or outside the specified range

## Slide 18: High Limit
Constant or an address
  Determines upper limit of the test range
Value can be integer or floating point
Figure 13-22 PLC-5 Limit test instruction

## Slide 19: Chapter Summary
Data manipulation
  Transfer data from one word location to another
Data comparison
  Compare value in one word with another word or a constant value
Format and instructions vary with PLC manufacturer