## Slide 1: Chapter Seven
Relay Type Instructions
Notes: <number>

## Slide 2: Objectives
Understand the EXAMINE ON instruction
Understand the EXAMINE OFF instruction
Write and understand the logic for a standard STOP/START motor circuit
Notes: <number>

## Slide 3: Programming Contacts
PLC programmed using ladder logic language
N.O. contact symbol
  Instruction telling processor to look for ON condition at symbol’s corresponding address
If ON condition exists, instruction is TRUE
Notes: <number>

## Slide 4
Figure 7-2 Simple circuit
Figure 7-3 Equivalent circuit programmed with a PLC
Notes: <number>

## Slide 5
Figure 7-4 Input and output devices wired to I/O modules
Notes: <number>

## Slide 6
Figure 7-5a Bit status for I/O word 1 with switch open
Figure 7-5b Bit status for I/O word 1 after switch is closed
Notes: <number>

## Slide 7: Examine ON
Examine ON instruction looking for an ON condition
  If ON: bit set to 1, or true
  If OFF: bit set to 0, or false
Notes: <number>

## Slide 8: Examine OFF
Examine OFF instruction looking for an OFF condition
  If OFF: bit set to 1, or true
  If ON: bit set to 0, or false
Notes: <number>

## Slide 9
Table 7-1 Examine if Closed (XIC) and Examine if Open (EIO)
Notes: <number>

## Slide 10: STOP/START Example
Table 7-7a Standard STOP/START ladder
Table 7-7b Equivalent STOP/START circuit programmed with a PLC
Notes: <number>

## Slide 11: STOP/START Example (cont’d.)
Table 7-7c Input devices connected to an input module
STOP button and O.L. contact wired in normally closed:
  But programmed as normally open contacts
Notes: <number>

## Slide 12: STOP/START Example (cont’d.)
Table 7-8a Bit status for input image word 010 and output image word 012 with the processor in RUN mode
Notes: <number>

## Slide 13: STOP/START Example (cont’d.)
When START button is depressed:
  Bit 01 set to 1 (ON)
Figure 7-8b Bit status for input image word 010 and output image word 012 while START button is being depressed
Notes: <number>

## Slide 14: STOP/START Example (cont’d.)
Motor is then energized
Motor held energized by holding contacts O:012/01
Holding contacts do not actually exist as hard-wired contacts
  Used to maintain logic path for the circuit
Notes: <number>

## Slide 15: STOP/START Example (cont’d.)
Figure 7-8c Bit status for input image word 010 and output image word 012 after output O:010/01 is energized and the START button is released
Notes: <number>

## Slide 16: STOP/START Example (cont’d.)
Figure 7-8d Bit status for input image word 010 and output image word 012 with the STOP button depressed
Notes: <number>

## Slide 17: STOP/START Example (cont’d.)
Figure 7-8e Bit status for input image word 010 and output image word 012 with the STOP button released
Notes: <number>

## Slide 18: Relay Analogy
Alternative way to look at N.O. and N.C. symbols used for programming
  See pages 140-142 in the text
Notes: <number>

## Slide 19: Clarifying Examine ON and Examine OFF
Figure 7-15 Double-Circuit Pressure Switch
Notes: <number>

## Slide 20: Clarifying Examine ON and Examine OFF (cont’d.)
When power applied to circuit
  Motor 1 will start:
    Through N.C. contacts of PS-1 in rung 1
  Motor 2 cannot start
    Due to N.O. contacts of PS-1 in rung 2
Same circuit can be programmed on a PLC
  Using single-circuit pressure switch
Notes: <number>

## Slide 21
Figure 7-16a Double-circuit pressure switch circuit programmed for a typical PLC
Notes: <number>

## Slide 22
Figure 7-16b Actual wiring of a single-pole pressure switch
Notes: <number>

## Slide 23: Clarifying Examine ON and Examine OFF (cont’d.)
When processor placed in RUN mode
  All N.O. contacts examined for ON condition
  Bits 01, 02, 03 of input word 010 set to 1
When processor EXAMINES OFF the N.C. contact I:010/01:
  Sees that bit 01 is set to 1
Notes: <number>

## Slide 24: Clarifying Examine ON and Examine OFF (cont’d.)
Motor 1 is ON and motor 2 is OFF
When pressure switch actuated:
  N.C. contacts are open, N.O. contacts become false, turning motor 1 off
  N.C. contacts become true, turning motor 2 ON
Notes: <number>

## Slide 25: Summary
EXAMINE ON instruction is logically true when ON condition exists
EXAMINE OFF instruction is logically true when OFF condition exists
Relay analogy approach
  Alternative method of understanding programming logic
Notes: <number>