## Slide 1: What is Meant by “Smart Grid”?
Smart Grid is a system that uses various technologies to enhance power delivery and use through intelligent two-way communication.
Power generators, suppliers and end-users are all part of the equation.
With increased communication and information, Smart Grid can monitor activities in real time, exchange data about supply and demand and adjust power use to changing load requirements.
Empowers customers to choose to control their energy usage
  Smart meters
  Home/building/industrial energy management/control systems
  User information interfaces and support tools

## Slide 2: The End-user is the center piece of the Smart Grid

## Slide 3: Demand Response and Smart Grid
DR is the primary demand side resource of the Smart Grid
Smart Grid provides the capability to better utilize DR
Smart Grid allows utilities to harness other benefits (ancillary services, etc) of DR
Smart Grid gives operators increased confidence in DR as a resource due to greater visibility

## Slide 4: Demand Response and Energy Efficiency
Energy efficiency provides ongoing energy savings (usually enabled by technology); DR provides event-driven demand load shaping
Energy savings that occur during hours of peak demand can contribute to demand savings
More analysis needed to substantiate if DR provides efficiency savings
People who participate in EE are generally more likely to participate in DR and vice-versa
Best practices for program marketing, especially towards residential customers, addresses EE and DR simultaneously
Notes: <number>

## Slide 5: Role of Demand Response in Electric Power Systems
Demand Response Research Center, “Demand Response Best Practices, Design Guidelines and Standards, Work Papers”, presentation to California Public Utilities Commission, December 2008.
Notes: <number>
Why are the blocks getting smaller? Customer control?