## Slide 1: Implementation Table
Notes: LBNL
<number>

## Slide 2: Global Temperature Adjustment

## Slide 3: Supply Air Temperature Increase

## Slide 4: Chilled Water Temperature Increase

## Slide 5: Cooling Valve Limit

## Slide 6: Duct Static Pressure Decrease

## Slide 7: Chiller Demand Limits

## Slide 8: Fan VFD Limit

## Slide 9: Fan Quantity Reduction

## Slide 10: Turn Off Lights in Specific Zones

## Slide 11: Dimmable Ballasts

## Slide 12: Stepped or Bi-Level Lighting Controls

## Slide 13: Addressing Miscellaneous Equipment
Fountain pumps
Anti-sweat heaters
Electric vehicle chargers
Industrial process loads
Cold storage
Elevator cycling
Irrigation water pumps

## Slide 14: Demand Limit Strategy
Many advanced EMCS have the capability to minimize the whole building peak demand from exceeding a pre‐specified peak demand limit. Demand limit strategy is a supervisory control algorithm that manages a combination of single or multiple DR control strategies.
  When the whole building demand exceeds a warning level, the EMCS deploys strategy #1. If the whole building demand still exceeds the warning level, strategy #2 is deployed, and so on. Thus, whenever the demand hits the warning level, the whole building demand is suppressed by a combination of sequential strategies.
  Strategies that have a lower impact on occupants’ comfort should come first, and strategies that have more impact should come later.
If the EMCS has a function to develop dynamic demand limit set-points based on the baseline, the demand limit target can be set as shown below, so that the desired demand savings can always be achieved.
[Demand limit target] = [Baseline] – [Desired demand savings]
Notes: EMCS – Energy Management and Control System
<number>