## Slide 1: Demand Response for Energy Auditors
Course No. ENGR 58

## Slide 2: Management and Operation of an Electric Grid
A. Balance of load management strategies
B. Role of utilities and California Independent System operator
C. Benefits to California

## Slide 3: Load factor and billing data analysis for Demand Response and Load Shifting

## Slide 4: Implementation issues, benefits and challenges of various demand response strategies:
Global temperature adjustment
Supply air temperature increase
Chilled water temperature increase
Cooling valve limit
Duct static pressure decrease
AC cycling controllers
Chiller demand limit
Fan VFD limit
Fan quantity reduction
Turn off lights in specific zones
Dimmable ballasts
Stepped or bi-level lighting controls
Addressing miscellaneous equipment
Alternative work schedules
Demand limit strategy

## Slide 5: Peak Load shedding or shifting
Daylighting controls
Thermal storage
  Chilled water
  Ice
  Solid materials
  Phase-change materials
  Chemical storage
Night flushing/pre-cooling
Equipment charging

## Slide 6: Back-up generation and co-generation
Applications
System integration issues
Air quality regulations

## Slide 7: Commissioning of load management systems

## Slide 8: Utility pricing signals and auto demand response

## Slide 9
Demand Response for Energy Auditors
Course No. ENRG 58
Assess the importance of load management and demand response in limiting peak load across the electrical grid
Calculate and analyze load factor for various facilities as part of an effort to determine the impact of demand response or load shifting strategies
Synthesize information on the variables that inform load management and demand response projects including utility rates, climate, facility type, facility usage patterns and occupant satisfaction
Evaluate specific facilities for the potential application of various load management and demand response measures
Integrate back-up generators and alternative work-force schedules into demand response strategies, and consider the challenges these measures introduce
Assess the value of automating demand response strategies to speed up response time and eliminate human errors

## Slide 10
COURSE DESCRIPTION
5% of California generation is only utilized for 40 hours over a year. The power plants represented in this 5% are the dirtiest and most expensive in the state. We can eliminate the need for this generation through the use of demand response (DR) and load management. This class explores the applicability of various DR strategies including global temperature adjustment, global dimming for lights, pre-cooling and load control devices. DR rates and incentive types will be covered. Other topics include thermal storage and other load shifting systems, AutoDR, persistence and commissioning of these systems.
Course No. ENRG 58
Demand Response for Energy Auditors