## Slide 1: Utility Rates, Benchmarking and Financial Analysis Course No. ENRG 53
Notes: <number>

## Slide 2
Understanding utility bills / charges
  Rates and tariffs for energy utilities
  Time-Varying Pricing
  PG&E electric and natural gas schedules
  Other utilities in California
Utility Rates, Benchmarking and Financial

## Slide 3
Understanding utility bills / charges
  Rates and tariffs for energy utilities
  Time-Varying Pricing
  PG&E electric and natural gas schedules
  Other utilities in California
Utility Rates, Benchmarking and Financial

## Slide 4: Understanding utility bills / charges
The California Public Utilities Commission sets rates
Rates are set after lengthy reviews of utility costs, testimony, and public input
Rates include costs to provide: electricity generation, transmission, distribution, and a fair rate of return
Rate structures are divided into tiers with baselines as basic allocations

## Slide 5: Understanding utility bills/charges
Baselines and Tiers
  “Baseline” is your energy allowance for basic needs and is billed at the lowest rate
    Determined by the average amount of energy consumed (by climate zone, by season)
  Tiered rate structure up to and over baseline, for PG&E, is as follows:
  0-100% 101-130 101-200 over 200% of baseline
<number>
5/6/2013
DRAFT -- DO NOT QUOTE OR CIRCULATE

## Slide 6
Understanding utility bills/charges
  Rates and tariffs for energy utilities
  Time-Varying Pricing
  PG&E electric and natural gas schedules
  Other utilities in California
Utility Rates, Benchmarking and Financial

## Slide 7: Time Varying Pricing
Time Varying Pricing is part of a California energy plan to encourage customers to manage their use of electricity more efficiently
Cost for electricity increases at “peak” periods when demands for electricity are at their highest – hot summer afternoons
Higher costs of energy will motivate customers to change their behaviors or improve facilities with more energy efficient equipment
Notes: http://youtu.be/hx2laabqje8
<number>

## Slide 8: Time Varying Pricing
Time of Use Pricing (TVP) means that electricity will become:
  More expensive during “peak” weekdays hours (noon to 6PM)
  Less expensive during “part-peak” weekday hours (mornings and evenings)
  Least expensive during “off-peak” hours (nights, weekends, and holidays)

## Slide 9: Time Varying Pricing
Prior to TVP, customers paid a flat rate for energy consumption, regardless of time of use
Under TVP customers will pay higher utility prices for energy consumed at “peak” periods
It is no longer about how much energy is used, but when the energy is used

## Slide 10: Recommendations for TVP
Four ways to conserve electricity during peak periods:
  Turn off all non-essential equipment, including lights
  Pre-cool space
  Minimize equipment use
  Adjust schedules for employees, equipment and building systems
Notes: For businesses.
<number>

## Slide 11: Peak Day Pricing Event Days
Peak Day Pricing (PDP) is a rate option or pricing program for customer with loads over 200 kW
Upside: Peak Day Pricing participants will enjoy lower power costs most of the year
Downside: much higher charges apply if customer uses power during critical peak demand events
California utilities anticipate 9 to 15 event days over the course of a year

## Slide 12: Peak Day Pricing
Energy planners use weather and power usage data to forecast California's power needs.
Peak Days are declared when the demand for electricity threatens to outpace supply and PG&E responds to a call to reduce power usage from the California Independent System Operator Corporation (ISO):
Typically occur between 11 am and 7 pm for 1 to 4 hours in duration.
Often during hot summer afternoons when the need for power rises dramatically in heavily populated areas and affects PG&E's entire service area.
Sometimes due to electric grid emergencies or maintenance outages.

## Slide 13: Example of PDP Effects
For customers with service points at or above 200 kW, PG&E will apply a surcharge on electricity used during critical Peak Demand periods. The charge will be an extra $1.00 per kilowatt hour (kWh) on top of the standard power rates according to your rate schedule.
The result will be at least a 10X increase over your lowest rate.
For example, the average charge for a 200kW service point running for one hour could jump from $24 per hour to $224 per hour

## Slide 14
Understanding utility bills / charges
  Rates and tariffs for energy utilities
  Time-Varying Pricing
  PG&E electric and natural gas schedules
  Other utilities in California
Utility Rates, Benchmarking and Financial

## Slide 15: Rates for Electricity and Gas
Gas and Electric Rates are divided into many Tariffs each with their own rules, applicability, and terms.
Each utility is required to make Tariff details publicly accessible
“Rules” or definition of language and terms used in the tariffs (handout)
Notes: See handout or – provide link to http://www.pge.com/tariffs/
<number>

## Slide 16
http://www.pge.com/tariffs/ERS.SHTML#ERS http://www.pge.com/tariffs/GRS.SHTML#GRS
Notes: Snap shot of variations of rates.
There are many more – this is just a screen shot…
<number>

## Slide 17: Sample Electric Rate Schedules (see handout)
Notes: A-1 is a commercial rate
E-1 is a residential rate
Tariffs for each can be handed out.
<number>

## Slide 18
Notes: Insert handout of rule book… gas and electric
Short list of terminology could be used to quiz
<number>

## Slide 19
Sample Utility Bill & Data Analysis
  Read through utility bills
  Calculate and plot utility data properly by Excel
  Compare difference and savings by using different utility schedules
  Analyze current energy usage data to find potential EEM