Science of Thin Films Activity

Etch and Deposition Overviews for Microsystems

Instructor Guide

Notes to Instructor

This activity provides a hands-on study of thin films through a detailed exploration of silicon dioxide (oxide). Participants calculate etch rates as well as identify the color-thickness relationship of silicon dioxide. Participants observe and explore the following: - The relationship between oxide growth in wet vs. dry oxidation furnaces - How thin film interference applies to oxide thickness - How oxide thickness and time is used to determine etch rate - How the etch rate and oxide thickness determine the time of etch This activity could also be used as an etch activity or as an oxidation activity. Participants should have a basic understanding of the wet etch process. To complete this activity, participants will need the “rainbow” wafer provided in the SCME Science of Thin Films Kit* or, if you do not have a rainbow wafer, a picture of one is provided in this activity. You may also choose to have some students work this activity using the kit Rainbow wafer and other students using the picture of a Rainbow wafer. *This kit can be acquired through the SCME website (http://scme-nm.org) while supplies last and the center is funded. The kit includes two processes “rainbow wafers”. This activity is part of the Etch for Microsystems Learning Module as well as this Deposition Learning Module. This companion Instructor Guide (IG) contains all of the information in the PG as well as answers to the Post-Activity questions.

Description and Estimated Time to Complete

Silicon dioxide (oxide) is a thin film used throughout microtechnology fabrication. Its applications include an insulating layer, a sacrificial layer, or a masking layer. A rainbow wafer is a wafer that is initially coated with a layer of silicon dioxide (SiO2) or oxide (usually less than 6,000 Å). This layer of oxide is then etched or removed in increments over a period of time (5 to 10 minutes). The result is the wafer you see here in the picture. Each layer, etched in equal time increments, appears to have a different color than the other layers. This is due to different thicknesses of oxide for each layer. Figure 1. “Rainbow Wafer” [Courtesy of MJ Willis, personal collection.] In this activity you learn why you see different colors for different thicknesses of oxide and the thickness of oxide that each color represents. Given a rainbow wafer, you estimate the thickness of several layers of silicon dioxide (SiO2) based on the colors you see, then calculate the etch rate of each layer based on its thickness and time of etch. You also interpret graphs related to oxide growth and temperature. This activity helps you to better understand the basics of oxidation and etch rate as they apply to the isotropic wet etch of silicon dioxide (SiO2). It also helps you to begin to recognize oxide thickness based on its color and why the color changes with the oxide thickness. Estimated Time to Complete Allow at least 1 hour to complete this activity.

Activity Objectives and Outcomes

Activity Objectives Interpret Oxide thickness vs. temperature graphs. Using a color chart, estimate the thickness of silicon dioxide removed. Using your results, create two graphs showing the relationship between oxide thickness and time. Activity Outcomes By the end of this activity you should be able to estimate the thickness of a silicon dioxide layer by its color when viewing it from a specific angle and explain why the color of the oxide changes when viewed from different angles. You should also be able to calculate the time it would take to remove a specific amount of silicon dioxide under certain conditions.

Introduction

Silicon dioxide (SiO2) is grown on a pure crystalline silicon wafer in a diffusion furnace using high temperatures (~900 to 1200° C). A diffusion furnace consists of a quartz tube large enough to hold several boats of wafers and able to heat to at least 1200° C. The wafers are placed in quartz boats. The boats are then placed on a platen (like a loading dock) which transports the boats into the furnace's quartz tube. Figure 2 shows the manual unloading of 100mm oxidized wafers. Figure 2. Oxidation furnace being manually unloaded. [Image courtesy of the University of New Mexico, Manufacturing Training and Technology Center]

Growing Silicon Dioxide (Oxidation) When exposed to oxygen, pure silicon (Si) oxidizes forming silicon dioxide (SiO2). Silicon dioxide is also referred to as just “oxide” in the MEMS (microelectromechanical systems) industry. Additional names for silicon dioxide include “quartz” and “silica”. Native oxide is a very thin layer of SiO2 (approximately 1.5 nm or 15 Å) that forms on the surface of a silicon wafer whenever the wafer is exposed to air under ambient conditions. This native oxide coating is a high-quality electrical insulator with high chemical stability making it very beneficial for microelectronics. Other benefits of SiO2 in microelectronics and microsystems include the following:1,2 sacrificial layer or scaffold for microsystems devices structural layer or material for microsystems devices (beams, membranes) - passivation coatings - protect the silicon (“hard” mask) - electrical isolation of semiconductor devices - diffusion mask, a barrier material or mask during implant or diffusion processes - gate dielectric and interlayer dielectric in multilevel metallization structures a key component in certain wafer bonding applications SiO2 naturally grows on a silicon surface at room temperature. However, this growth is very slow and stops at about 15 Å after only two to three days. In semiconductor and microsystems fabrication, SiO2 is either deposited through a chemical vapor deposition (CVD) process or grown in a high temperature furnace with an oxygen source (gas or vapor). This latter process is called thermal oxidation.

The thermal oxidation process includes three basic steps (Figure 3): The silicon wafers are placed in a heated furnace tube (typically 900 – 1200 degrees C). A source of oxygen (gas or vapor) is pumped into the chamber. This source is either O2 or H2O, respectively. The oxygen molecules react with the silicon to form a silicon dioxide (SiO2) layer in and on the substrate. Figure 3. Schematic diagram of an oxidation furnace.

The chemical reactions that take place are ("dry" oxidation which uses oxygen gas) or ("wet" oxidation which uses water vapor)

Oxide Growth Kinetics This oxygen/silicon reaction is analogous to the oxidation or rusting of metal. In the case of iron (Fe), rust (Fe2O3) is formed. The rate of formation is dependent on the environment including the presence or absence of water (H2O) and the temperature. The longer the metal or wafers are exposed to the oxygen source (H2O or O2 ), the thicker the rust (or oxide) layer becomes, to a point. The higher the temperature, the faster the reaction rate and the thicker the oxide. The oxide layer actually consumes a portion of the silicon just as rust consumes a portion of the metal. Initially, the growth of silicon dioxide is a surface reaction only. However, after the SiO2 begins to grow on the silicon surface, new arriving oxygen molecules must diffuse through the SiO2 layer to get to silicon atoms below the surface. At this point the SiO2 growth is occurring at the silicon crystal – silicon dioxide interface. As a general principle, the depth of pure silicon consumed in the oxidation process is 45% of the final oxide thickness (Figure 4). For every 1 micrometer of SiO2 grown, about 0.46 micrometers of silicon is consumed.2 Figure 4. Cross-sectional view showing how silicon dioxide grows into the surface of the wafer surface. The rate of oxide growth is highly dependent upon temperature. Let's take a look at the relationship between oxide thickness and temperature in dry and wet oxidation growth processes.

Activity Part I: Interpreting Oxide Growth vs. Temperature Graphs Below are two graphs that demonstrate the growth rate of oxide relative to temperature in a dry oxidation process (left graph) and a wet oxidation process (right graph). These graphs closely match experimental data and are drawn based on a model by B.E. Deal and A. S. Grove.3 Answer each of the following based on your interpretation of the above graphs. (Answers in Red) - In a wet oxidation process, how thick is the oxide after 1 hour when processed at 1200°C? - 0.1 μm - 0.2 μm - 0.9 μm - 2.0 μm - In a dry oxidation process, how thick is the oxide after 1 hour when processed as 1200°C? - 0.1 μm - 0.2 μm - 1.0 μm - 2.0 μm

- In a wet oxidation process of 1000°C, how long would it take to grow an oxide thickness of 1.0 μm? - 1 hour - 2.5 hours - 3.5 hours - More than 10 hours - In a dry oxidation process of 1000°C, how long would it take to grow an oxide thickness of 1.0 μm? - 0.1 hours - 1 hour - 4 hours - More than 10 hours - Based on your findings, which type of process yields a thicker oxide in a shorter period of time given the same temperatures? - Wet oxidation - Dry oxidation

Etching Silicon Dioxide Silicon dioxide is readily etched using hydrofluoric acid (HF) according to the following reaction: SiO2 (solid) + 6HF (liquid) --> H2SiF6 (liquid) + 2H2O. HF is a weak acid. This means that it only partially dissociates in water. Because of the low value of hydrogen ion concentration [H+] in weak acids (HF in our case), the pH is quite vulnerable to change. Changes in pH result in changes in etch rate. Small dilutions or consumption of the reactant during etching can significantly alter pH. These alterations can be limited by the technique of buffering the solution. The customary buffer for HF is ammonium fluoride (NH4F). Ammonium fluoride is a salt that dissociates to form fluoride and ammonium ions. A typical volume ratio is 20 parts NH4F to one part HF. This mixture is called buffered oxide etch (BOE). BOE is a reasonably selective etch for silicon dioxide. It will not etch bare silicon, but does attack silicon nitride and photoresist to some extent.

Oxide's Color Oxide is colorless. However, when you look at an oxide wafer, it has color. The color of the oxide coated wafer is caused by the interference of light reflecting off the silicon (below the oxide) and the light reflecting off the top of the oxide surface. As the oxide thickness changes, so does the interference and the oxide's "seen" color. Color charts have been developed that state the oxide's thickness based on its "seen" color. (See the Oxide Thickness Color Chart attached.) Figures 5, 6 and 7 illustrate thin film interference. When studying these figures, don't forget that white light consists of all of the colors of the visible light spectrum. You can see this when you shine white light through a prism (Figure 5).

Figure 6. Two wafers with two different oxide thicknesses. The incident ray (or white light) is reflected off both the lower substrate/oxide interface surface and the top air/oxide surface. These two reflected rays of light recombine. Depending on the oxide thickness, only certain colors will constructively recombine, while the other colors which make up the white light will not. These two different thicknesses will reflect two different colors. Figure 5. The dispersion of white light as it travels through a triangular prism. [Illustration is Public Domain]

When the light reflected off the substrate is in phase with the light reflected off the surface of the oxide, the resultant wave is the sum of the amplitudes. This is constructive interference. If the two reflected waves are out of phase, then their amplitudes cancel each other out. This is destructive interference. Figure 7. Constructive vs. Destructive Interference. The thin film interference effect is shown on the left for the case of constructive interference of a given wavelength of light and thickness of dioxide. The graphic on the right is a schematic representation of adding two waves which are in phase (constructive) and out of phase (destructive).

However, color can be deceiving. As you tilt the wafer, the color changes. In one wafer, of a specific thickness, you will see different colors as you view the wafer at different angles (tilt). The color you see depends on the angle at which you view the wafer's surface. Figure 8 is a series of photographs taken of the same oxidized wafers, but at three different angles (all of these wafers have had approximately 5700 Angstroms of oxide growth). Figure 8. Three photographs taken of the same oxidized wafers at three different angles. [Photos courtesy of the University of New Mexico Manufacturing Training and Technology Center.] The color you see comes down to the thickness of the film that the light travels through before reaching your eyes; this is called the optical path length. If you look straight down (perpendicular to the surface), the light reflected off the bottom (SiO2 and Si) will have traveled through two times the thickness of the film. If you look at the same film at an angle, the light will have traveled through more than twice the thickness of the film; the light has therefore traveled through a longer optical path length. Effectively a thicker film is being observed; hence, the color looks different. Therefore, to use a color chart to estimate oxide thickness consistently, it is very important that your line of sight is perpendicular to the wafer's surface. In other words, look straight down on the wafer, not at an angle. Keep this in mind when completing this activity. Your outcome will be affected if you do not view the wafer from a direct, top-down perspective in a consistent manner.

Supplies / Equipment - Rainbow wafer (provided in SCME Science of Thin Films Kit*) and/or Rainbow wafer photograph (attached) - Oxide thickness vs. Color Chart (Attached) - Rainbow Wafer Calculations Worksheet (attached) * This kit can be acquired through the SCME website (http://scme-nm.org) while supplies last and the center is funded.

Documentation - Activity Part I with answers - Completed Rainbow Wafer Calculations Chart - Required graphs with a written analysis for each graph - Answers to the Post-Activity Questions

Activity Part II: The Rainbow Wafer

Description Use a Rainbow Wafer and an Oxide Thickness vs. Color Chart to determine the oxide thickness of each color on the wafer. Develop several graphs from which you can extract the average etch rate. (The etch rate is the amount of oxide etched in a given amount of time.) The average etch rate can be determined by calculating the slope of the straight line through your data points. Procedure: - Using the provided Rainbow Wafer or the Rainbow Wafer photo at the end of this activity, complete the Rainbow Wafer Calculations Worksheet. - Determine the color of each stripe. (Refer to Oxide Thickness vs. Color Chart) - Determine the oxide thickness for each color based on the color chart. - Calculate the total amount of oxide etched (removed) for each stripe. - NOTE: The rainbow wafer in the photograph has a starting oxide thickness of 5000 Å. If you are using the rainbow wafer from the activity kit, the starting oxide thickness will be noted in the kit. - Using Excel or another spreadsheet software, plot a line graph showing the relationship between "Remaining Oxide Thickness vs. Time Etched". Be sure to indicate units (Å, nm or μm). - Plot a second line graph showing "Etched Oxide (amount removed) vs. Time Etched". Be sure to indicate units (Å, nm or μm). - On each chart, draw a trend line through your data points. (If you’re using Excel, right click on a point on your chart, select “Add Trend line”, then select “linear”. If the software doesn’t have the capability to add a Trend line, you’ll need to estimate it. Draw a straight line through your points that “best fits” the trend of the data points. - Select two points on the line (points that are NOT your data points) where the line crosses an axis. - Use the two points to determine the slope of the line. - Answer the Post-Activity Questions. Examples of plotted data Oxide thickness Vs Etch time on the left graph. Oxide thickness removed on the right graph. Both graphs include the fitted straight line trend and corresponding equations with the goodness of fit, R (when R=1, the fit is perfect). The equation follows the y = mx+b equation of a straight line where m is the slope of the line.

Post-Activity Questions

- What does the slope of the line (m) represent? - Refer to your graph for "Remaining Silicon Dioxide Thickness vs. Etch Time". - What is the slope of this line-graph? What is the equation of the line? Make sure you include the units. - The slope should be negative. What does a negative slope mean in this context? - Refer to your graph for “Oxide Removed vs. Etch Time". - What is the slope of this line-graph? What is the equation of the line? Make sure you include the units. - The slope should be positive. What does this mean? - How does this compare to question 3) above? - Based on your graphs and the slope of the line, how long does it take to etch 0.05 microns (μm) of oxide? - Given a silicon wafer substrate with 500 nm layer of oxide, how long would it take to etch to bare silicon based on your data? - Refer to the Oxide Thickness vs. Color Chart. What is the thickness(es) of a wafer that looks "yellow-green"? (You may see "yellow-green" more than once. Include all thicknesses.) - Why do oxide colors repeat as the oxide continues to grow? - In a fabrication facility, estimating the oxide's thickness based on its color is used as an initial verification by the operator that the oxidation process was correct. However, it is not accurate. How is oxide thickness measured in a fabrication facility? - Refer to your actual data points. What factors contribute to the variations between data points? (Theoretically, the data points should line up in a straight line with a constant etch rate.) - List three other types of thin films used in microtechnology and describe the purpose or applications of each of these thin films.

Post-Activity Questions / Answers

- What does the slope of the line (m) represent? Answer: The average etch rate (amount etched over a period of time) - Refer to your graph for "Remaining Silicon Dioxide Thickness vs. Etch Time". - What is the slope of this line-graph? What is the equation of the line? Make sure you include the units. - The slope should be negative. What does a negative slope mean in this context? Answer: (Answers will vary according to how each participant interprets the oxide color at each stripe and the trend line. Therefore, the instructor needs to verify that the worksheet data and graphs support the answers. The following answers and graphs are based on the rainbow wafer photo. NOTE: To get "b" of y = mx + b, the participant will need to extend the trend line to the y-axis intercept, when x=0. What does this mean? At the x=0 point, that is when the etch time is zero. This corresponds to the starting point of the etch, i.e., the original thickness of the oxide.) a. Oxide thickness decreases the longer the etch. The slope of the line in the graph below is -300 Å/min. Therefore, the equation of the line is y = -300 Å/min + 4750 Å b. In the graph below, a negative slope indicates that the wafer is losing about 300 Angstroms of silicon dioxide every minute of etch time. y = -300 Å/min + 4750 Å - Refer to your graph for "Oxide Removed vs. Etch Time". - What is the slope of this line-graph? What is the equation of the line? Make sure you include the units. - The slope should be positive. What does this mean? - How does this compare to question 3) above? Answer: : (Answers will vary according to how each participant interprets the oxide color at each stripe and the trend line. Therefore, the instructors needs to verify that the answers are supported by the worksheet data and graphs. The following answers and graphs are based on the rainbow wafer photo. NOTE: To get "b" of y = mx + b, the participant will need to extend the trend line to the y-axis as mentioned in the answer above. ) To get the slope, take the ratio of the amount the line rises over a given period of time (i.e., “rise-over-run”). So, for the graph below, at 1 minute, the oxide removed is about 550Å and at 8 minutes, the oxide removed is about 2600Å. So the rise is 2600Å-550Å=2050Å and the run is 8min-1min=7min. Hence, Rise/Run=slope = 2050Å/7min=293Å/min or about 300Å/min - Approximately 300 Å/min. y = 300 Å/min x +250 Å. Another way to write this is to say Oxide Removed = 300Å/min * (Etch Time) Point of discussion, you should force the line to go through the origin in this case since you can argue that at t=0, you haven’t etched anything so the amount removed must be zero! So, why did that fitted curve intercept result in 250Å at t=0? - As the time of the etch increases, so does the amount of oxide removed. The slope is positive and the units are again in Angstroms per minute. - The etch rates (slopes) of the two lines should be equal (very close) but opposite. y = 300 Å/min +250 Å

- Based on your graphs and data, how long does it take to etch 0.05 microns (μm) of oxide? Answer: Answers will vary, but depend on the participant's graph and the answer to 3a. Using the first graph above with a slope of -300 Å/min, it would take approximately 1.67 minutes (500 Å / 300 Å/min) to etch 0.05 microns (500 Å). - Given a silicon wafer substrate with 500 nm layer of oxide, how long would it take to etch to bare silicon based on your data? Answer: 500 nm = 5000 Å; therefore 5000 Å/ 300 Å/min = 16.7 minutes

- Refer to the Oxide Thickness vs. Color Chart. What is the thickness(es) of a wafer that looks "yellow-green"? (You may see "yellow-green" more than once. Include all thicknesses.) Answer: 3650 Å and 5400 Å. - Why do oxide colors repeat as the oxide continues to grow? Answer: At certain thicknesses the interference of the light reflecting off the crystal silicon substrate / oxide interface and the oxide's surface repeats itself as multiples of ½ wavelengths of the primary color. The wavelength of the light in the oxide is the wavelength of the light in air divided by the index of refraction of the oxide. Therefore, the observed color will be the same. This is true for 3650 Å and 5400 Å (yellow-green). The reason for this repetition is due to the wave-nature of light. For this example of yellow-green, the wavelength of yellow-green in air is about 5400Å. In oxide, the wavelength is about 5400Å/1.5= 3600Å, half of that is 1800Å which is very close to the difference between the 3650Å and 5400Å oxide thicknesses in the previous question. - 8. In a fabrication facility, estimating the oxide's thickness based on its color is used as an initial verification by the operator that the oxidation process was correct. However, it is not accurate. How is oxide thickness measured in a fabrication facility? Answer: Tools that utilize ellipsometry or interference methods. - Refer to your actual data points. What factors contribute to the variations between data points? (Theoretically, the data points should line up in a straight line with a constant etch rate.) Answer: Color observation by a person is subjective to the opinion of the observer. One person may say something looks blue-green and another may call the same material green. The reading of color by observation is not accurate, nor is it very repeatable. Utilizing a calibrated color measurement instrument will yield a more repeatable and accurate result. However, even if you read the colors slightly different than your lab partner and graph it, the slope of the line will be very close to each other even if the exact color determination for a given stripe is not. Another reason for the variation in the amount of etch between stripes is that since the wafer was manually handled and timed, this could be operator error. The operator may have kept the wafer at one level for longer than or shorter than one minute. - List three other types of thin films used in microtechnology and describe the purpose or applications of each of these thin films. Type of Thin Film; Applications. Polysilicon (poly); Structural material Piezoresistive material. Silicon Nitride (nitride); Electrical isolation between structures and substrate Protective layer for silicon substrate Environmental isolation between conductive layer and atmosphere Masking material Structural material. Phosphosilicate Glass (PSG); Structural anchor material to the substrate Sacrificial Layer. Various metals (Aluminum, gold, platinum); Conductive electrodes Reflective material. Spin-on Glass (SOG); Final layer for planarized top surface. Zinc Oxide (ZnO); Active piezoelectric film Sacrificial layer. Photoresist; Masking material Sacrificial material.

| Summary |
| --- |
| When exposed to oxygen, silicon oxidizes forming silicon dioxide (SiO2). Thermal oxidation is used to grow precise thicknesses of oxide on bare silicon wafers. Even though oxide is transparent, the interference of white light reflected off the silicon crystal/oxide interface with that reflected off the oxide's top surface, creates a variation in color depending on the thickness of the oxide. Hydrofluoric Acid (HF) can be used to etch SiO2. The longer the etch time, the more oxide is removed. If you know the etch rate and the initial oxide thickness, you can calculate the amount of time needed to remove a specific thickness of oxide or how long you need to etch an oxide coated wafer to get a specific thickness. |
| References |
| - “General Relationship for the Thermal Oxidation of Silicon” B. E. Deal and A. S. Grove, Journal of Applied Physics, Vol. 36, No. 12 (1965). - "Photolithography (Oxide Etching) Lab". Albuquerque TVI. Mary Jane Willis and Eric Krosche. (1996) - "Oxide Growth and Etch Rates". MEMS 1001. Central New Mexico Community College. Matthias Pleil. (2008). |  |

This Rainbow Wafer was created by lowering the wafer into BOE one stripe at a time.  Each interval was held (by an operator) for 1 minute, then lowered to the next level.  This wafer was created in approximately 9 minutes.  The bottom most level was in the BOE solution for the entire 9 minutes.  The top most level (5000 angstroms) was never exposed to the BOE.

Oxide Thickness vs. Color Chart

| Oxide Thickness [Å] | COLOR | Color and Comments |
| --- | --- | --- |
| 500 |  | Tan |
| 750 |  | Brown |
| 1000 |  | Dark Violet to red violet |
| 1250 |  | Royal blue |
| 1500 |  | Light blue to metallic blue |
| 1750 |  | Metallic to very light yellow-green |
| 2000 |  | Light gold or yellow slightly metallic |
| 2250 |  | Gold with slight yellow-orange |
| 2500 |  | Orange to Melon |
| 2750 |  | Red-Violet |
| 3000 |  | Blue to violet-blue |
| 3100 |  | Blue |
| 3250 |  | Blue to blue-green |
| 3450 |  | Light green |
| 3500 |  | Green to yellow-green |
| 3650 |  | Yellow-green |
| 3750 |  | Green-yellow |
| 3900 |  | Yellow. |
| 4120 |  | Light orange |
| 4260 |  | Carnation pink |
| 4430 |  | Violet-red |
| 4650 |  | Red-violet |
| 4760 |  | Violet |
| 4800 |  | Blue Violet |
| 4930 |  | Blue |
| 5020 |  | Blue-green |
| 5200 |  | Green (Broad) |
| 5400 |  | Yellow-green |
| 5600 |  | Green-yellow |
| 5740 |  | Yellow to Yellowish (May appear to be light creamy gray or metallic) |
| 5850 |  | Light orange or yellow to pink borderline |
| 6000 |  | Carnation pink |

| Rainbow Wafer Photo Calculations Worksheet (Instructor Key) (Use for Rainbow Wafer Photo) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Level | Color | Oxide Thickness* | Total Etch Time | Å Etched (Starting Oxide – Oxide Thickness) |
| Pre-Etch | Bluish Green | 5000 Å = 500 nm | 0 seconds | 0 Å |
| 1 | Red Violet | 4650 Å = 465 nm | 1 minute | 350 Å |
| 2 | Light Orange | 4120 Å = 412 nm | 2 minutes | 880 Å |
| 3 | Green-Yellow | 3750 Å = 375 nm | 3 minutes | 1250 Å |
| 4 | Green to Yellow-Green | 3500 Å = 350 nm | 4 minutes | 1500 Å |
| 5 | Blue to Blue-Green | 3250 Å = 325 nm | 5 minutes | 1750 Å |
| 6 | Blue to Violet-Blue | 3000 Å = 300 nm | 6 minutes | 2000 Å |
| 7 | Red Violet | 2750 Å = 275 nm | 7 minutes | 2250 Å |
| 8 | Orange to Melon | 2500 Å = 250 nm | 8 minutes | 2500 Å |

*The values in the answer key are “measured values”.  Participants will be using “estimated values” based on the color chart.

| Rainbow Wafer Calculations Worksheet (Instructor Key) (Use for Rainbow Wafer in kit) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Level | Color* | Oxide Thickness* | Total Etch Time | Å Etched (Starting Oxide – Oxide Thickness) |
| Pre-Etch | Green | 5200** | 0 seconds | 0 Å |
| 1 | Blue Violet | 4820 | 25 seconds | 5200-4825=375A |
| 2 | Violet Red | 4440 | 50seconds | 750 |
| 3 | Light Orange to Yellow | 4084 | 75seconds | 1125 |
| 4 | Green Yellow to Yellow Green | 3693 | 100seconds | 1500 |
| 5 | Light Green to Blue Green | 3332 | 125seconds | 1875 |

*The values in the answer key are “measured values” not estimated values.  Participants will be using “estimated values” based on the color chart; therefore, their results should fall within a range around the measured value as indicated in the color column.  For example, for layer 3 the estimated thickness should be between 4120 to 3900 (Light orange to Yellow).

**This value may be different due to different batches of processed wafers.  Use the chart to verify an estimation of pre-etch thicknesses.

To the right is the graph for remaining oxide thickness vs. time. Based on the equation, this system had an etch rate of ~375 angstroms / second and a starting oxide thickness estimated at ~5202 angstroms. Support for this work was provided by the National Science Foundation's Advanced Technological Education (ATE) Program through Grants. For more learning modules related to microtechnology, visit the SCME website (http://scme-nm.org).