|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |

**Activity: A Micro-Sized Testing Device**

**Participant Guide**

|  |  |
| --- | --- |
|  | Description and Estimated Time to Complete |
|  | In this activity you will use Internet sources to find one clinical test that has been modified or is being modified (still in the research or testing phase) using microtechnology. You will compare the bioMEMS (bio-microelectromechanical systems) device to the current testing method. You will present your results in a PowerPoint presentation.  If you have not reviewed the unit Clinical Laboratory Techniques and Microtechnology, you should do so before completing this activity.  Estimated Time to Complete  Allow at least two hours to complete this activity. |

|  |  |
| --- | --- |
|  | Introduction |
|  | Clinical laboratories perform several different types of procedures:   * Analyze body fluids, cells and other components like DNA and RNA. * Look for the presence of pathogenic entities such as bacteria, viruses and other microorganisms. * Analyze the chemical content of fluids. * Match blood for transfusions.   Some of the specific tests and analysis include   * Standard blood tests * Growing cultures * Analyzing tissue samples * Analyzing urine samples * Looking for specific diseases * Determining blood type * Looking for specific genes or cells   Some of these tests lend themselves to miniaturization, some do not. Tests that do are those tests that get a large amount of information from a small sample size. Therefore, sample size is an important factor to consider when developing a micro-sized device or bioMEMS for a clinical test. |
|  | Activity Objectives and Outcomes |
|  | Activity Objectives   * Demonstrate your understanding of how microtechnology can be used to replace certain clinical techniques by analyzing a specific micro-sized device or MEMS and comparing it to its clinical lab counterpart.   Activity Outcomes  Develop a PowerPoint presentation that contrasts and compares a bioMEMS device with its clinical laboratory counterpart. |
|  | Documentation |
|  | 1. A PowerPoint presentation meeting the procedure requirements below. 2. Answers to the Post-Activity Questions   NOTE: Be sure to include ALL sources and references to data and graphics. |

|  |  |
| --- | --- |
|  | Activity: A Micro-Sized Testing Device |
|  | Procedure:   1. Using Internet sources, find one clinical test that has been modified or is being modified (still in the research or testing phase) using microtechnology. 2. Analyze the two tests (the micro-device and its clinical lab counterpart) 3. Using Power Point or another presentation software, create a presentation that meets the following criteria.    1. The purpose of the test (what does it test, how common is it, any background information about this particular analyte testing)    2. How each test is performed (macro vs. micro)       1. What is the sample?       2. What is the sample size?       3. Ease of testing.       4. How is the sample prepared?       5. Requirements for laboratory facilities (equipment, tools, devices needed)       6. Cost per test    3. Advantages and disadvantages for macro vs. micro-sized testing device 4. Be prepared to present your findings. |
|  | Post-Activity Questions |
|  | 1. Why is "sample size" a contributing factor as to whether or not a particular test can be considered for microtechnology? (Provide specific examples supporting your answer) 2. What types of samples are collected for clinical testing? 3. What are three examples of clinical tests? 4. What does normal or reference range mean in the clinical laboratory? 5. Why are clinical laboratories and personnel certified and periodically recertified? 6. Which specific tests of clinical testing do you think lend themselves best to microtechnology applications? Why? |

|  |  |
| --- | --- |
|  | Summary |
|  | Clinical laboratories perform a variety of tests ranging from analyzing body fluids to molecular diagnostic testing. The value of microtechnology to clinical lab testing is a decrease in cost due to miniaturization of the tests, and the possibility of point-of-care testing, allowing for the testing of people who do not have access to modern laboratory facilities. |
|  | Reference |
|  | Unit: Clinical Laboratory Techniques and Microtechnology |
|  | *Support for this work was provided by the National Science Foundation's Advanced Technological Education (ATE) Program through Grants. For more learning modules related to microtechnology, visit the SCME website (*<http://scme-support.org/> *).*  *This Learning Module was developed in conjunction with Bio-Link, a National Science Foundation Advanced Technological Education (ATE) Center for Biotechnology @* [*www.bio-link.org*](http://www.bio-link.org)*.* |